STAFF REPORT:

###### INITIAL STATEMENT OF REASONS FOR

PROPOSED AMENDMENTS TO THE LIST OF EQUIPMENT DEFECTS THAT SUBSTANTIALLY IMPAIR THE EFFECTIVENESS OF GASOLINE VAPOR RECOVERY SYSTEMS

Date of Release:  July 9, 2004

Scheduled for Consideration:  August 24, 2004

Location:

1001 I Street

Sacramento, California

Air Resources Board

P. O. Box 2815

Sacramento, California 95812

The staff of the California Air Resources Board has prepared this report.  Publication does not signify that the contents reflect the views and policies of the Air Resources Board, nor does mention of trade names or commercial products constitute endorsement or recommendation for use.

Acknowledgments

The ARB staff extends their appreciation to the members of the CAPCOA Vapor Recovery Committee for providing multiple suggestions on improvements to the vapor recovery program as well as technical assistance.  Moreover, we thank the Western States Petroleum Association and the California Independent Oil Marketers Association for facilitating discussions with their members.  We thank all the air pollution control districts who provided their input to the Vapor Recovery Equipment Defects List Update.  We appreciate the expertise shared by Reza Mahdavi of the ARB’s Economic Studies Section.  A special thank-you to the staff from the Monitoring and Laboratory Division as well as the offices of Legal Affairs of the ARB for their assistance in preparing this report.

This report and proposed amendments to the Vapor Recovery Equipment Defects List incorporated by reference into the California Code of Regulations, section 94006 were developed by the following Air Resources Board Staff:

Ranjit Bhullar, Section Manager

R. Neil Nipper, Lead Staff

Paul Thalken

LaMar Mitchell

Air Resources Board

P.O. Box 2815

Sacramento, CA 95812

Initial Statement of Reasons for Proposed Amendments to the List of Equipment Defects That Substantially Impair the Effectiveness of Gasoline Vapor Recovery Systems

# Table of Contents

Executive Summary  …………………………………………………………………...	  1

1.  Introduction  …………………………………………………………………………	  3

1.1  Overview  ………………………………………………………..…………	  3

1.2.  History  …………………………………………………………………….	  3

2.  Background  …………………………………………………………………………	  3

2.1  Legal Authority  ……………………………………………………………	  4

2.2  Regulatory History  …………………………………….………………….	  4

2.2.1  Phase I Vapor Recovery  ………………………………………	  5

2.2.2  Phase II Vapor Recovery  ……………………………………...	  6

2.3  Public Process  ……………………………………………………………	  6

2.3.1  Public Workshops  ………………………………………………	  6

2.3.2  CAPCOA/District Meetings  ……………………………………	  7

2.3.3  Internet Availability  ……………………………………………..	  8

3.  Need for Emission Control  ………………………………………………………..	  8

3.1  Background  ……………………………………………………………….	  8

3.2  Impact on the State Implementation Plan for Ozone  …………………	  9

3.2.1  SIP History  .……………………………………………………..	  9

3.2.2  SIP Lawsuit Settlement  ………………………………………..	  9

3.2.3  Impacts of Proposed Amendments  …………………………..	  9

4  Summary of Proposal  ………………………………………………………………	  9

4.1  Introduction  ………………………………………………………………..	  9

4.2  Proposed Changes  ……………………………………………………….	10

4.2.1  Changes Which Effect All Defects Listed  ……………………	10

4.2.2  Changes to Defects Listed In Multiple VRED Tables  ………	11

4.2.3  Changes to Individual Defects  ………………………………..	12

5.  Environmental Impacts  ……………………………………………………………	15

5.1  Summary of Environmental Impacts  …………………………………...	15

5.2  Legal Requirements for Assessing the Environmental Impacts  …….	15

5.3  Potential Environmental Impacts  ……………………………………….	15

5.3.1  Impact on Ground-Level Ozone and Water Quality  ………...	15

5.3.2  Impact on Global Warming and Stratospheric Ozone

Depletion  ………………………………………………………..	16

5.3.3  Impact on Particulate Matter (Aerosols)  ……………………..	16

5.3.4  Impact on Toxic Air Contaminants  ……………………………	16

5.3.5  Impact on Solid Waste Disposal  ………………………………	16

Table Of Contents (continued)

5.4  Mitigation Measures  ……………………………………………………..	17

6.  Economic Impacts  …………………………………………………………………	17

6.1  Background  ……………………………………………………………….	17

6.2  Potential Impact on Business  …………………………………………...	17

6.3  Cost to State and Local Government  …………………………………..	18

7.  Evaluation of Alternatives  …………………………………………………………	18

8.  Future Activities  ……………………………………………………………………	18

8.1  AB1164 Requirements  …………………………………………………..	18

8.2  Decertification of Pre-EVR Systems  ……………………………………	19

8.3  EVR Executive Orders with Defects Listed  ……………………………	19

List of References  ……………………………………………………………………..	20

Appendices

Appendix 1: California Code of Regulations, Title 17, Section 94006

Appendix 2: Proposed Amendments to the Vapor Recovery Equipment Defects List

Appendix 3: California Health and Safety Code, Section 41960.2

Executive Summary

The Air Resources Board (ARB or Board) is proposing amendments to the Vapor Recovery Equipment Defects (VRED) List incorporated by reference in title 17 of the California Code of Regulations (CCR), section 94006(b) in order to improve the effectiveness of the gasoline vapor recovery program.  Defects in the equipment that substantially impair the effectiveness of the vapor recovery system to collect vehicle refueling emissions are required by law to be identified and listed for each certified system (California Health and Safety Code (HSC), section 41960.2(c)).

The ARB has identified and listed the substantially impairing defects in the VRED List incorporated into title 17 CCR, section 94006(b).  The regulation (see title 17, CCR, section 94006(a)) requires any defect that meets the following criteria to be considered substantial:

- The defect did not exist when the system was certified.

- The excess emissions associated with the defect have the potential to degrade fueling point or system efficiency by at least five percent.

- A field verification procedure exists to identify the defect.

In the VRED List, the ARB has identified conditions in vapor recovery equipment components which allow excess emissions, can be readily verified, and should not be present during normal operation of vapor recovery systems.  HSC section 41960.2(c)(2) requires the ARB to periodically review the VRED List to determine if it needs to be updated to reflect changes in equipment technology and performance.

An air pollution control district (APCD or district) or an air quality management district (AQMD or district) is responsible for inspecting local gasoline dispensing facilities (GDFs) and enforcing vapor recovery violations involving equipment defects and performance test failures (HSC sections 40752 and 41960.2(d) and (e)).  When a district determines that a component contains a defect specified in the VRED List, the district must remove the equipment from service until it has been replaced, repaired, or adjusted.

Field use of the current VRED List, along with inspections conducted by ARB and district staff, have revealed a variety of minor inconsistencies, clarification issues, and the need for editorial-type changes.  There are no known defects in vapor recovery equipment in currently installed systems that are not on the VRED List meet the criteria for substantially impaired.  ARB staff believes that amending the VRED List for clarification will enhance the ability of anyone using it to identify, and repair or replace, those defects that could significantly affect the effectiveness of vapor recovery systems.

Local district staff, manufacturers’ representatives, and trade associations representing GDFs have collaborated with ARB staff on the development of the update to the VRED List.  The local districts have provided valuable suggestions regarding technical information, the identification of correct verification procedures, and clarification of listed defects.

The proposed amendments to the VRED List are based on two goals.  The first is to provide clear direction concerning proper equipment operation and maintenance to the owners and operators of the dispensing facilities, and the second goal is to provide clear direction to the local districts concerning inspections and defect detection at dispensing facilities.

The proposed amendments affect a multitude of stakeholders.  These include the vapor recovery equipment manufacturers, gasoline marketers who purchase this equipment, contractors who install and maintain vapor recovery systems, and the inspectors at districts who enforce vapor recovery rules.  In addition, California certified systems are required by many other states and countries.

As there are no new defects identified, there are no new emission reductions associated with the amendments to the VRED List.  The emission reductions associated with the vapor recovery program have already been accounted for in the State Implementation Plan (SIP).  However, clarification of the listed defects will enhance compliance by GDF operators and enforcement by the districts, making it more likely that the promised reductions will, in fact, occur.

Staff recommends that the ARB Executive Officer approve the proposed amendments to the VRED List.

- Introduction

1.1	Overview

This Initial Statement of Reasons (ISOR or Staff Report) contains the ARB staff’s proposal for amending the VRED List incorporated by reference in title 17 of the CCR, section 94006(b).  The VRED List is a compilation of conditions, which substantially impair the effectiveness of vapor recovery systems used to control motor vehicle refueling emissions.  This ISOR contains the following information:

- Background and rationale for the proposed amendments

- Description of the public process

- Need for emission control

- Description of the proposed amendments

- Environmental impacts

- Economic impacts

- Future activities

- List of references

1.2	History

In 1982, the ARB compiled a list of 12 defects for vapor recovery equipment and incorporated the list into title 17 of the CCR, section 94006.  These defects applied generally to all vapor recovery systems, regardless of type or manufacturer.  Since 1982, the ARB has certified vapor recovery equipment and described the significant defects associated with each of the systems in the Executive Order (E.O.) certifying the system.  Given the fact that technology and designs of the vapor recovery systems have changed significantly since the original list was adopted, are changing more rapidly now, and defects are more system dependent, the VRED List was adopted September 23, 2002.  Periodic or regular updates, embraced with the passage of the VRED List, will enhance compliance efforts by the GDF operators and district enforcement.

The ARB must now identify and list equipment defects that substantially impair the effectiveness of these systems and periodically update the list as appropriate (HSC sections 41960.2(c) and (d)).  Each listed defect results in the generation of excess emissions during the vehicle refueling process.  Furthermore, the districts are required to remove from service all equipment that has been determined to contain a listed defect or equipment affected by defective equipment.

- Background

In 2000 and 2001 the ARB developed criteria to define what would constitute a defect “substantially impairing the effectiveness” of vapor recovery equipment used in motor vehicle refueling operations.  The criteria are:

- The defect did not exist when the system was certified.

- The excess emissions associated with the defect have the potential to degrade fueling point or system efficiency by at least five percent.

- A field verification procedure exists to identify the defect.

Each E.O. was reviewed in order to identify all defects, which substantially impair the effectiveness of the systems in collecting gasoline vapors, for inclusion in the VRED List incorporated by reference into title 17 CCR, section 94006(b).  The objective was to consolidate all of the substantial defects into one list (rather than an incomplete list plus numerous system E.O.s) in order to enhance compliance and enforcement.  This VRED List adopted September 23, 2002 is presented as Appendix 2 of this document, with the amendments now being shown in strikethrough for deletions and underline for additions.  The purpose of the proposed amendments is to make non-substantial, editorial, and clarification changes in order to enable both the district inspectors and GDF maintenance personnel to use their time more efficiently while inspecting GDFs.  A comprehensive and complete description of each change is provided in section 4, Summary of Proposal (amendments to the VRED List).  No additional, substantial, equipment defects have been identified since the creation of the current VRED List.

  - Legal Authority

In 1999, the legislature adopted Assembly Bill 1164.  This requires the ARB to identify, list, and update the list of equipment defects in systems for the control of gasoline vapors resulting from motor vehicle fueling operations that substantially impair the effectiveness of the systems in reducing air contaminants (VRED List) to reflect changes in equipment technology or performance.  Assembly Bill 1164 also required the ARB to conduct a public workshop on or before January 1, 2001 and at least once every three years thereafter (the first periodic review being on or before January 1, 2004) to determine whether a list update is necessary (HSC 41960.2(c)(2)).

The intent of the AB 1164 sponsor was to focus enforcement efforts for gasoline vapor control systems on significant defects and to achieve in more uniform enforcement of vapor recovery requirements.  Updating the VRED List at this time will provide everyone involved in motor vehicle refueling vapor recovery with more accurate and current information regarding vapor recovery equipment defects.

  - Regulatory History

Gasoline vapor recovery systems have been used in California to control reactive organic gases (ROG), and specifically hydrocarbon (HC) emissions, for over thirty years.  The feasibility of the first vapor recovery systems was investigated at the district level, particularly in the San Diego and Bay Area districts, in the early 1970s.  State law enacted in 1975 requires the ARB to “adopt procedures for determining the compliance of any system designed for the control of gasoline vapor emissions during gasoline marketing operations, including storage and transfer operations, with performance standards that are reasonable and necessary to achieve or maintain any applicable ambient air quality standard” (HSC section 41954(a)).

Under State law, the ARB is directed to certify gasoline vapor recovery systems so that all systems meet minimum standards (HSC section 41954(c)).  To comply with State law, the Board adopted the certification and test procedures found in title 17, CCR, section 94000 et seq.  Additionally, State law requires the ARB to list and identify defects that have the potential to substantially impair the effectiveness of the system (see HSC section 41960.2(c)).  The VRED List incorporated into section 94006(b) of title 17 of the CCR lists those defects.

After certification, a system may be installed at a GDF anywhere in the State.  The local districts are charged with inspecting the GDF to ensure the system is operating as certified.  Part of the inspection procedure is to verify that the system is being operated free from the equipment defects listed in the VRED List.

Because each gasoline transfer leads to displaced vapors, the use of efficient vapor recovery equipment is essential throughout the gasoline marketing chain.  Vapor recovery systems are divided into separate but dependent phases that are independently certified, as described below.

2.2.1	Phase I Vapor Recovery

Phase I vapor recovery is applied to gasoline transfer operations involving cargo tank trucks.  The first transfer occurs when the cargo tank is filled with petroleum product at the loading rack of a refinery terminal or a bulk plant.  While the cargo tank is filled, gasoline vapor from the cargo tank is recovered.

As illustrated in Figure 1, Phase I vapor recovery also includes the transfer from the cargo tank to the gasoline dispensing facility, or service station.  Phase I vapor recovery is required throughout California.

Figure 1:  Phase I and Phase II Operations

2.2.2	Phase II Vapor Recovery

Phase II vapor recovery controls ROG emissions resulting from gasoline transfer operations at the GDF to vehicles.  This is the vapor recovery equipment that many of us operate routinely when filling up our cars.  The two main types of Phase II vapor recovery systems are “balance” and “vacuum assist.”

The balance systems can be identified by the long bellows or boot on the nozzle.  The end of the bellows must make a good seal with the vehicle fill neck opening when the nozzle is dispensing fuel into the vehicle.  This ensures the vapor pushed out of the vehicle tank while filling is routed back through the nozzle to the underground vapor space.  This is sometimes referred to as a “passive” system.

Assist system nozzles, in contrast, require a vacuum to collect vapors from the vehicle tank during refueling.  The vapors are collected through a series of holes in the spout, which vacuum up the vapors during refueling.  This requires use of an active vapor pump.  Some assist systems also have processors to manage the underground vapor space pressure.  Two currently certified systems operate with burners on or near the vent pipe in order to reduce emissions.

The proposed regulatory changes deal only with Phase I and Phase II vapor recovery systems at GDFs.

2.3	Public Process

2.3.1	Public Workshops

The ARB conducted two public workshops to review the VRED List and to determine the need to update it.  Workshop dates and locations are listed below:

Table II-1.  Vapor Recovery Equipment Defect List Update Public Workshops

| Workshop Date | Location |
| --- | --- |
| November 5, 2003 | Sacramento |
| March 10, 2004 | Sacramento |

Summary of the November 5, 2003 Workshop

In accordance with the three year legislative requirement previously explained in section 2.1, the purpose of this meeting was to determine whether or not the VRED List adopted September 23, 2002 needed to be updated and, if necessary, to list any defects not currently specified.  An update was determined to be necessary and modifications to the VRED List were proposed.  Attendance included local regulatory agencies, California Air Pollution Control Officers Association (CAPCOA) representatives, equipment manufacturers, petroleum suppliers, and ARB staff.

After introductions, a brief Power Point presentation covered the following topics:  equipment defect history, ARB defect authority, ARB ‘s requirements, defect determination criteria, source of list changes, requests for additional changes, and future action.  A handout of a draft proposal of changes to the VRED List was then discussed with reasons for each change explained and questions answered by ARB staff.

The proposed changes to the VRED List, many being the addition or deletion of a single word or phrase for clarification and all being appropriate, were fully supported.  Also, with the exception of the addition of two words for clarification in one defect and the substitution of initials, which have changed recently, no one had any additional changes to suggest.  ARB staff proposed to post the most recent draft of the list on the web to allow all stakeholders to comment on it.

Summary of the March 10, 2004 Workshop

Since presenting and agreeing on the November 5th changes, six additional changes to the proposed VRED List were made.  To ensure that all stakeholders had the opportunity to review and discuss these latest changes, ARB staff held a public workshop on Wednesday, March 10, 2004.  Individuals representing industry and the public attended the meeting.  A handout of the draft proposal containing the six changes to the VRED List was discussed with reasons for each change explained and questions answered by ARB staff.  ARB staff posted the entire VRED List on the web to allow all stakeholders additional time to look it over.  The proposed changes included an identification scheme for each defect, removal of a verification procedure, and modification of another verification procedure as well as minor clarifications to language.

2.3.2	CAPCOA/District Meetings

In addition to the workshops, ARB staff worked closely with district enforcement staff.  Two major meetings impacting the VRED List update were held with AQMD and APCD staff on the CAPCOA Vapor Recovery Committee.

Summary of the AQMD/APCD VRED List Meeting

On March 5, 2003, MLD’s In-Use Vapor Recovery Program Section staff met with representatives from five AQMD/APCD districts to discuss enforcement of the VRED List.  Since the September 23, 2002 adoption of the VRED List, districts had been adjusting their enforcement programs accordingly.  They had concerns and sought ARB clarification.  With enforcement, some oversight of defects listed surfaced.  The concerns, which could not be addressed by offering specific VRED training to district enforcement inspectors, were alleviated through proposed changes to the VRED List.

Summary of the CAPCOA Presentation

On January 16, 2004, ARB staff presented an update of the proposed VRED List to CAPCOA’s Vapor Recovery Committee.  A handout with changes made before, at the November 5, 2003 workshop, and in the interim was passed out and discussed.  Additional suggestions for improving the VRED List were raised by committee members.

2.3.3	Internet Availability

Beginning in the first quarter of 2003, when it became apparent that modifications to the VRED List would be beneficial, the proposed VRED Lists were available on the ARB Internet website.  With each set of changes, a new draft of the VRED List was posted and email recipients on the Vapor Recovery List Server were notified.  The same is true for the public workshops and other meetings.  To help identify changes, all were highlighted.  Strikethrough or underline notation was also used for deletions or additions respectively.

- Need for Emission Control

3.1	Background

Significant strides have been made in improving California’s air quality.  Nonetheless, most regions throughout California continue to exceed health-based State and federal air quality standards.  Areas exceeding the State and federal 1-hour ozone standard include the South Coast Air Basin, the San Francisco Bay area, San Diego County, the San Joaquin Valley, the Southeast Desert, the broader Sacramento area and Ventura County.  As the new federal eight-hour ozone standard is implemented, more areas of the State may be designated as non-attainment for ground-level ozone.

Created by the photochemical reaction of ROG and oxides of nitrogen (NOx), ozone causes harmful respiratory effects including lung damage, chest pain, coughing, and shortness of breath.  Ozone is particularly harmful to children, the elderly, athletes, and persons with compromised respiratory systems. Environmental effects of ozone exposure include substantial damage to crops, buildings, materials, and other structures.

Emission controls have been placed on both mobile and stationary sources of ROG and NOx.  Some of the earliest and most successful measures for ROG control are vapor recovery collection systems for petroleum marketing operations.  The emission reductions attributable to vapor recovery from service stations alone are projected to be 118 tons per day in the year 2010 in the South Coast Air Basin, more than the reductions for low emission vehicles and cleaner burning gasoline.  Emission reductions associated with the rigorous implementation and enforcement of the vapor recovery program are expected to achieve the emission reductions assumed from gasoline transfer applications in the 1994 SIP.  The VRED List and the Enhanced Vapor Recovery (EVR) program, adopted by the ARB in March 2000, provide these reductions.

Even with current controls, petroleum product transfers result in significant emissions.  According to the 1995 inventory, petroleum-marketing operations (which include emissions at service stations and cargo tank loading facilities) emit 77 tons per day of ROG statewide.  This is about 10 percent of the total ROG of 740 tons per day from all stationary sources combined.  About half of the 77 tons are emitted in the South Coast Air Basin.  These emission totals assume that the vapor recovery systems at the more than 11,250 service stations in the State are operating at a minimum of 90 percent efficiency.

3.2	Impact on the State Implementation Plan for Ozone

3.2.1	SIP History

The 1994 SIP for Ozone is California’s master plan for achieving the federal ozone standard in six areas of the State by 2010.  The SIP includes State measures to control emissions from motor vehicles and fuels, consumer products and pesticide usage, local measures for stationary and area sources, and federal measures for sources under exclusive or practical federal control.  The U.S. EPA approved the 1994 SIP in September 1996 (62 Federal Register 1150-1201 (January 8, 1997)).

Once the U.S. EPA approved the 1994 SIP, the emission inventories and assumptions used in it are frozen until the SIP is formally amended.  That is, evaluations of the impacts on the 1994 SIP of new measures or modifications to existing measures must use the same emission inventories and assumptions used in developing the 1994 SIP.  As ARB has implemented the SIP over the last five years, some measures have delivered more reductions than anticipated, while other measures have delivered fewer reductions, due to technological, economic, social, and other contingencies associated with the implementation of a regulatory plan or program.

3.2.2	SIP Lawsuit Settlement

In 1997, a lawsuit was filed against the South Coast AQMD, ARB, and U.S. EPA by three Los Angeles based environmental groups for failure to implement specific measures contained in the 1994 SIP (Coalition for Clean Air v. South Coast AQMD).  In January 1999, the Board approved a settlement regarding ARB’s portion of the SIP litigation.  The lawsuit settlement addresses near-term emission reduction shortfalls of 42 tpd of ROG and 2 tpd of NOx in the South Coast Air Basin in 2010.  ARB must implement programs over the next few years to achieve the specific emission reduction goals outlined in the lawsuit settlement agreement.

3.2.3	Impacts of Proposed Amendments

The emissions reductions attributed to the vapor recovery program are currently set forth in the SIP and are not being amended.  The proposed amendments should be beneficial to the vapor recovery effort by enhancing compliance and enforcement.  Therefore, meeting the existing SIP commitments should be more achievable in practice.

- Summary of Proposal

  - Introduction

This section describes the ARB proposal to amend the VRED List incorporated by reference in title 17 of the CCR, section 94006(b).

A list of substantially impairing equipment defects was first developed in 1982.  Subsequently identified defects were specified in E.O.s certifying the system.  As directed by Assembly Bill 1164, the ARB assembled all substantially impairing defects for inclusion into the VRED List adopted September 23, 2002.

4.2	Proposed Changes

The specific proposals to update the VRED List can be placed into three categories:  specific changes to individual defects listed in a single VRED List table, modifications which affect a defect listed several times in multiple tables, and changes which affect all defects listed.  All changes are underline for additions and strikethrough for deletions in the proposed VRED List in Appendix 2.  Each type of VRED List change is described by category in the following sections.

4.2.1	Changes Which Affect All Defects Listed

Alphanumeric Identification Scheme for All Defects

A stakeholder made a request to add a “numbering” scheme so that each defect would have a unique identification.  After discussing this plan with the VRED update participants, ARB staff proposed an alphanumeric identification scheme.  Every identification has three parts:  i) the executive order number for the VRED List table under which the defect appears, ii) a sequential letter for the equipment which the defect is associated with, and iii) a sequential number for the defect itself.  As can be seen in the “GVR All Systems/any E.O.” table on page one of the proposed VRED List (Appendix 2), the defect number (part iii above) is sequential for the particular equipment (part ii above) with which it is associated.  For each category in the equipment column, the defect number sequence begins again with one (“(1)”).  The same is true for the equipment letter.  At the start of a new table in the proposed VRED List, the first identifying letter associated with the first equipment listed will be an “a”, the second a “b”, and so on.  The executive order number (part i above) represents the characters which proceed the literal description/title of the system.  GVR for general vapor recovery has been added to the “All Systems/any E.O.” table on page one of the proposed VRED List.

Examples of the scheme are:  the identification for the defect “installation or use of any uncertified component” listed in the “All Systems/any E.O.” table on page one of the proposed VRED List is “GVR(a)(3)”, the next listed defect which begins “dispensing rate greater than …” would be “GVR(a)(4)”, and the last defect on the “G-70-7 series Hasstech VCP-2 and VCP-2A” table on page two of the proposed VRED List is

“G-70-7(d)(1)”.

The multi system table on page 3 of the VRED List is the only table somewhat different than the examples above.  The identification scheme for defects listed in this VRED List table has the same three part alphanumeric identification as all other tables of the proposed VRED List.  However, the correct executive order number will be the one for the specific system in question.  For example:  the identification for the “any hose with a visible opening” defect will always begin with “G-70-“ and end with “(b)(2).”  On the Atlantic Richfield system it will be “G-70-25(b)(2)”, on the Texaco system it will be “

G-70-38(b)(2)”, and so on.

Notes explaining the identification scheme are included as part of the proposed VRED List on pages one and three.

4.2.2	Changes to Defects Listed In Multiple VRED Tables

Vapor Valves

There is a “defective vapor valve” defect listed in 18 of the 22 tables which comprise the adopted VRED List.  However, the list does not distinguish between the two types of vapor valves:  i) remote and ii) non-remote.  Vapor valves not contained in the nozzle are considered remote.

The necessity to make this distinction occurs because the verification procedure, used to determine if a remote vapor valve is defective, is being removed from the VRED List and there is no alternative procedure.  One of the authors of the verification procedure (GDF-03:  Pressure Integrity Performance Verification for Vacuum Assist Systems [Squeeze Bulb Test]) objected to it being used for the purposes of the VRED List.

GDF-03 is being removed from the verification procedure column associated with the “defective vapor valve” defects.  GDF-03 is also being removed from the “Defect Identification Methods Used In the Verification Procedure Column” list on page 20 of the VRED List.

One of two verification procedures (GDF-01 or GDF-02) is used to determine if any

non-remote vapor valve is defective.  The “defective vapor valve” defect will be listed for the “system” or “nozzle” equipment component.  Examples of this defect are in the tables “G-70-118 series Amoco V-1” on page four of the VRED List and “G-70-154 series Tokheim MaxVac” on page seven of the VRED List.  GDF-01 and GDF-02 are Bag Tests for Multi-Nozzle or Single-Nozzle Vacuum Assist Systems respectively. The GDF-01 procedure is remaining unchanged in the “Defect Identification Methods Used In the Verification Procedure Column” list on page 20 of the VRED List and a GDF-02 procedure is being added.

For systems which have both remote and non-remote valves the verification procedure will remain “GDF-01/GDF-02.”  However, these verification procedures will only be applicable to specific nozzles with a non-remote vapor valve.  To reduce confusion, this defect is removed from the “system” equipment component and listed with the specific nozzle equipment component of the list.  Nozzles, which have a remote vapor valve, do not have this defect listed with them.  An example of this dual nozzle type system listing can be observed in the “G-70-150 series Marconi (Gilbarco) Vapor Vac” table on page five of the proposed VRED List.

There is a system “G-70-7 series Hasstech VCP-2 and VCP-2A” (the table on page two of the proposed VRED List) which has remote vapor valves only.  For this system the “defective vapor valve” defect will be removed.  This is the only system for which the defect is being removed entirely.

Pressure Drop Unit of Measurement

In 20 of the 22 tables which comprise the adopted VRED List there is a “pressure drop through the system exceeds one-half (0.50) inch water column at sixty standard cubic foot per hour (60 SCFH)” defect listed.  ARB staff is proposing to remove the term “standard” and change the singular “foot” to the plural “feet”, thus changing the units of measurement to “cubic feet per hour.”  The initials “SCFH” will likewise have the “S” removed changing “SCFH” to “CFH.”  An example of these changes may be found on page two of the proposed VRED List in the table for the “G-70-7 series Hasstech VCP-2 and VCP-2A” system.

Defects Followed by an Asterisk (*)

Many of the defects are followed by an asterisk (the character *).  It is used in the VRED List as a reference mark to the footnote which follows the VRED List table.  The footnote states that a defect with an asterisk may remove all gasoline fueling points at a GDF from service.  When created, the asterisk was intended to call special attention to those defects which are likely to remove all fueling points of a GDF from service.  The placement of an asterisk after a defect is not necessary for a defect to remove all gasoline fueling points at a GDF from service.  Since the adoption of the VRED List, it has come to the attention of ARB staff that there are other defects which are just as likely as defects with an asterisk to remove all gasoline fueling points at a GDF from service.  An asterisk has been added to those defects in the proposed VRED List.  No asterisk is being removed from any defect.

Decimal Fractions Expressed As Percentages

Throughout the VRED List there are measurements written and followed by a decimal fraction in parenthesis.  Two examples with unit are “one and one-half (1.5) inches” and “three-eighths (0.38) inch.”  Those defects in units of measurement like gallons per minute, inches, and water column inches remain unchanged; however, defects expressed as fractions of a whole will be modified.  Examples are “one-fourth (0.25) of the circumference” and “one-eighth (0.13) of the diameter.”  At a stakeholder’s request, staff is proposing these unit-less fractions be expressed as percentages rather than decimal fractions.  The examples given would be changed to “one-fourth (25%) of the circumference” and “one-eighth (13%) of the diameter.”

4.2.3	Changes to Individual Defects

The remaining changes are specific modifications to individual defects listed in a single VRED List table or reconciliation of two tables for a single system.

Systems Certified for Underground and Aboveground Tanks

There are two sets of two VRED List tables, which are for slightly different applications of a single system.  G-70-164 and G-70-175, the first such set of VRED List tables, are the Hasstech VCP-3A system certified for underground and aboveground tanks respectively.  Other than the defects discussed in previous paragraphs, the proposed VRED List has additions to these two tables to make them as close to one another as allowable by the Executive Orders certifying the systems.  Similarly, the G-70-186 series and the G-70-187 series are a Healy Model 400 ORVR system certified for underground and aboveground tanks respectively.  The changes for these two tables in the proposed VRED List are also to make them as close to one another as allowable by the Executive Orders certifying the systems.  G-70-164, G-70-175, G-70-186, and

G-70-187 may be found on pages 9, 12, 15, and 16 respectively of the proposed VRED List.

Improper Installation of Any Component

In the “GVR All Systems/any E.O.” table on page one of the VRED List the defect “absence or disconnection of any component required to be used in the E.O.(s) that certified the system” is being changed to “absence, improper installation, or disconnection of any component required to be used in the E.O.(s) that certified the system.”  The term “improper installation” is being added to address the situation where the correct component is in place but it is installed backward or incorrectly.  The verification procedure for this defect is direct observation.  If a situation exists where a verification means other than direct observation is necessary, this defect may not be applied.  An example might be where a component has an installation specification requiring a test or measurement and the defective condition is not directly observable.

Verification Procedure for Dispensing Rate

In the “GVR All Systems/any E.O.” table on page one of the VRED List, changes to the verification procedure for the defect “dispensing rate greater than ten (10.0) gallons per minute (gpm) or less than the greater of five (5.0) gpm or the limit stated in the E.O. measured at maximum fuel dispensing” are being proposed.  The verification procedure is “direct measurement for 60 seconds minimum” as adopted.  A stakeholder raised the point that this requires dispensing large quantities of gasoline to determine flow-rates.  After examining ARB test methods, which calculate flow-rate (among other things), most of the time flow-rates are calculated over about a one-half minute period.  This realization initiated the proposed change in the verification procedure language:  “when determined as part of any ARB approved test method or direct measurement for 30 seconds minimum.”  This means that anyone conducting a approved test which determines dispensing rate will not have to run a separate test for the dispensing rate; but if they do, it will be for 30 seconds minimum.

Insertion Interlock Verification Procedure Addition

An additional method to the “insertion interlock mechanism which will allow dispensing when the bellow is uncompressed” defect verification procedure in the multi-system table on page three of the VRED List is being proposed.  GDF-09:  Phase II Balance System Nozzle Insertion Interlock Operation Determination is the method.  At the time the current VRED List was adopted, GDF-09 was not available.  The addition of GDF-09 will allow testing of insertion interlock mechanisms where direct observation is not possible.  GDF-09 is also being added to the “Defect Identification Methods Used In the Verification Procedure Column” list on page 20 of the VRED List.

One and One-Half Inch or Greater Slit/Vapor Splash Guard

In the “G-70-150 series Marconi (Gilbarco) Vapor Vac” table on page five of the VRED List there is a defect written, “a one and one-half (1.5) inch slit in vapor splash guard” for the Husky V34 6250 nozzle equipment component.  The defect should be “a one and one-half (1.5) inch or greater slit in vapor splash guard.”  The term “or greater” has been added to the proposed VRED List to correct the interpretation of this defect.  In this same VRED List table and equipment component, the next defect “any hole greater than three-eighths (0.38) inch in vapor splash” is missing the term guard at the end.  The proposed VRED List corrects this by rewriting the defect “any hole greater than three-eighths (0.38) inch in vapor splash guard.”

Defective Vapor Valve on the WayneVac Systems

The “G-70-159 series Saber nozzle for Gilbarco (Marconi) Vapor Vac and WayneVac” table on page eight of the VRED List has a “defective vapor valve” defect.  The Gilbarco systems have a vapor valve with a remote check valve.  In previous paragraphs it was explained that no verification procedure exists for vapor valves with a remote check valves.  This issue has been addressed by changing the defect to “defective vapor valve on the WayneVac systems” in the proposed VRED List.

Vapor Guard Defect Clarification

The “any nozzle with a vapor guard damaged such that a slit from the outer edge of the open end flange to the spout anchor clamp” defect listed in the table “G-70-165 series Healy Model 600” on page ten of the VRED List is missing two terms.  The defect should read “any nozzle with a vapor guard missing, damaged such that a slit from the outer edge of the open end flange to the spout anchor clamp, or which has equivalent cumulative damage.”  The terms “missing” and “or which has equivalent cumulative damage” have been added to the proposed VRED List to achieve consistency with the executive order.

AGT/AST

Underground storage tanks have traditionally been referred to using the initials “UST” while aboveground tanks used “AGT”.  With recent modifications to aboveground storage tank regulations, the initials “AST” have replaced “AGT”.  The title of the VRED List table “G-70-187 series Healy Model 400 ORVR AGT” on page 16 of the VRED List is being changed to  “G-70-187 series Healy Model 400 ORVR AGT (AST).”  The initials “AGT” are being kept in the title because this is the title of the G-70-187 executive order; however, the initials “AST” are added in parenthesis to emphasize this is an aboveground storage tank defect VRED List table.

- Environmental Impacts

5.1	Summary of Environmental Impacts

This section contains the ARB staff’s assessment of the potential environmental impacts that would result from adoption of the proposed amendments to the VRED List incorporated by reference in title 17 of the CCR, section 94006(b).  Both the California Environmental Quality Act (CEQA) and Board policy require the ARB to consider the potential adverse environmental impacts of proposed regulations.  ARB staff evaluated the potential environmental impacts of the amendments, including impact on ground-level ozone, particulate matter, toxicity, global warming, stratospheric ozone depletion, water quality, and solid waste disposal.  ARB staff also evaluated the impact on the emission reduction commitments contained in the SIP for ozone.  In addition, the ARB will respond in writing to all significant environmental points raised by the public during the public review period or at the Board hearing.  These responses will be available prior to final adoption of the amendments and will be set forth in the Final Statement of Reasons for the modifications to the VRED List.

To summarize the results of the assessment, ARB staff found that the proposed amendments should not result in an increase or decrease excess emissions.  No adverse environmental impacts are expected to result from the proposed amendments to the VRED List.  Because no potential adverse impacts are expected, the focus of the following analysis will be on benefits.

5.2	Legal Requirements for Assessing the Environmental Impacts

Public Resources Code section 21159 (Analysis of Methods of Compliance) requires that the environmental impact analysis conducted by ARB for new regulatory requirements include the following:

- an analysis of the reasonably foreseeable environmental impacts of the methods of compliance (Section 5.3);

- an analysis of reasonably foreseeable feasible mitigation measures (Section 5.4); and,

- an analysis of reasonably foreseeable alternative means of compliance with the rule or regulation (Section 7).

5.3	Potential Environmental Impacts

5.3.1	Impact on Ground-Level Ozone and Water Quality

The proposed amendments would have a minimal to slightly beneficial impact on ground level ozone and water quality.  The amendments being made to the VRED List are currently contained in the existing regulatory provision or in E.O.s certifying vapor recovery systems, and as such are already enforceable.  By clarifying the VRED List, enforcement should be strengthened and compliance should become less difficult.

Consistent enforcement may help identify components with short lifecycles and discourage their use.  This should have some effect in the replacement of inferior products and provide manufacturers with an incentive to raise quality.  Improved equipment, through increased compliance and stronger enforcement, should decrease emissions.

5.3.2	Impact On Global Warming and Stratospheric Ozone Depletion

The use of vapor recovery equipment does not alter carbon dioxide, CFC type, or related compounds emissions; therefore, no impact on global warming or stratospheric ozone depletion is expected.

5.3.3	Impact on Particulate Matter (Aerosols)

The proposed amendments are not likely to cause an increase in the formation of particulate matter (PM), particularly secondary organic aerosols.  Secondary organic aerosols are usually formed from the photo-oxidation of organic compounds with carbon numbers equal to seven or more.

5.3.4	Impact on Toxic Air Contaminants

Any impact the proposed amendments would have on emissions of toxic air contaminants (TACs) should be favorable to a reduction of TACs.  This is because the VRED List facilitates enforcement of vapor recovery requirements.  In accordance with the requirements of section 41960.2 (d) of the HSC, title 17, CCR, section 93101(d) states:

No owner or operator shall use or permit the use of any Phase II system or any component thereof containing a defect identified in Title 17, California Code of Regulations, Section 94006 [VRED List] until it has been repaired, replaced, or adjusted, as necessary to remove the defect, and, if required under Health and Safety Code Section 41960.2, district personnel have reinspected the system or have authorized its use pending reinspection.

The use of improved and better-maintained equipment, with increased compliance and stronger enforcement, should decrease TAC emissions form vehicle refueling.

5.3.5	Impact On Solid Waste Disposal

The impact on solid waste disposal should be somewhat favorable at best or minimal at worst.  If improved enforcement and increased compliance causes manufacturers to raise product quality and durability, fewer defective parts will make their way into landfills.  Manufacturers now reuse parts of many components.  With more durable products this practice should increase, leading to even less material being discarded.

5.4	Mitigation Measures

ARB staff has not identified any adverse environmental impact that would result from the proposed amendments.  No mitigation measures are necessary.

- Economic Impacts

6.1	Background

In general, economic impact analyses are inherently imprecise, especially given the unpredictable behavior of companies in a highly competitive market such as gasoline marketing and distribution.  Some projections are necessarily qualitative and based on general observations and facts known about the gasoline marketing and distribution industry.  This impacts analysis, therefore, serves to provide a general picture of the economic impacts typical businesses might encounter in light of the compliance and enforcement repercussions of the proposed amendments.  Staff recognizes that individual companies may experience different (or no) impacts than projected in this analysis.

Overall, the proposed amendments are not expected to impose an unreasonable cost burden on gasoline dispensing equipment manufacturers, component suppliers, or GDFs.  Most of the major manufacturers are located outside of California although some may have small operations in the State.  GDFs are local business by nature, and all affected GDFs are California-based.

6.2	Potential Impact on Business

The ARB expects no significant adverse impacts on manufacturers’ profitability, employment in California, the status of California businesses, or competitiveness of California businesses with businesses in other states.  Most of the GDFs in California are subject to an annual compliance inspection by the district.  The proposed amendments are mainly clarifications of existing equipment defects identified by ARB in the VRED List and are currently enforceable by the districts.  A clearer reference for detection of vapor recovery equipment defects encourages uniform enforcement across the State and provides preventative maintenance guidance for service station operators.  A greater understanding of the defects for vapor recovery systems will reduce the need for more stringent standards in the future, thereby lowering the compliance costs to California operators.  Given these projections, the Executive Officer has determined that adoption of the proposed amendments does affect small business, but beneficially.

In accordance with the California Administrative Procedure Act section 11346.3 (b), the Executive Officer has determined that adoption of the proposed regulatory action should have no impact on the creation or elimination of jobs within the State of California, the creation of new business or elimination of existing business within California, or the expansion of business currently doing business in California.

6.3	Cost to State Agencies and Local Government

The proposed amendments will not create any fiscal impacts or mandate to any local governmental agency or school district whether or not reimbursable by the State pursuant to part 7 (commencing with section 17500), division 4, title 2 of the Government Code, or other non-discretionary savings to local agencies, nor will the proposed amendments create costs or savings to any State agency.  Programs are currently in place to identify vapor recovery equipment defects as systems are certified.  Resources are also available for completing future reviews and revisions of the list.

- Evaluation of Alternatives

An alternative to amending the VRED List is to do nothing.  This has been the approach used since the adoption of the original regulation in 1982 and led to the passage of Assembly Bill 1164.  This lack of action perpetuated the decentralization of defects specification (i.e. in the myriad of Executive Orders) making both compliance and enforcement more difficult and increasing inconsistency among the air districts.

Section 41960.2(c)(2) of the Health and Safety Code states:

On or before January 1, 2001, and at least once every three years thereafter, the list required to be prepared pursuant to paragraph (1) shall be reviewed by the executive officer at a public workshop to determine whether the list requires an update to reflect changes in equipment technology or performance.

At the November 5, 2003 workshop, presented with the “no-action” alternative, there was unanimous agreement that the VRED List needed to be updated.

The first update draft VRED List included several items that were discovered from using the VRED List in the field.  From this first list a number of successive alternatives have been developed.  Each alternative list has been evaluated in public and private meetings.  The modified VRED List presented to the Executive Officer for approval is based on these progressive evaluations of options.

- Future Activities

## 8.1	AB1164 Requirements

In 1999, Assembly Bill 1164 amended Health and Safety Code section 41960.2 (c)(2) to require the Executive Officer of the ARB to review the CCR, title 17, section 94006 (Vapor Recovery Equipment Defects List) at a public workshop at least once every three years to determine whether a list update is necessary to reflect changes in equipment technology or performance.  It also authorizes the executive officer to initiate public review of the list upon a written request.  The request must demonstrate, to the Executive Officer's satisfaction, that such a review is needed.  Also, if the Executive Officer determines that the list should be updated, the update must be completed within 12 months of the determination.  Because of the rapid technological change in vapor recovery equipment, ARB staff anticipate these update requirements will generate changes to the defects listed every three years if not more often.

## 8.2	Decertification of Pre-EVR Systems

In March 2000, the ARB adopted new standards for vapor recovery equipment certification.  The new standards are referred to collectively as EVR.  Each existing E.O., with the exception of EVR E.O.s, is scheduled to be decertified by April 1, 2008.  As the old equipment components in the E.O.s are decertified, any associated defects listed will no longer be applicable and should be removed from the VRED List.

8.3	EVR Executive Orders with Defects Listed

Just as a number of substantial equipment defects listed with the existing pre-EVR systems will be removed, a number of defects associated with the newly certified EVR systems will need to be added to the VRED List as the new components are certified.  These new defects will initially be specified in each E.O. before being discussed during a periodic review of the VRED List being used at that time.  ARB staff is assessing new E.O.s for defect incorporation to amend the VRED List and will periodically update it as necessary to keep it current.

LIST OF REFERENCES

1.  Bag Test for Multi-Nozzle Vacuum Assist Systems (GDF-01)

2.  Bag Test for Single-Nozzle Vacuum Assist Systems (GDF-02)

3.  Pressure Integrity Performance Verification for Vacuum Assist Systems [Squeeze Bulb Test] (GDF-03)

4.  Phase II Balance System Nozzle Insertion Interlock Operation Determination

(GDF-09)