## Changes
EVR COST ANALYSIS SPREADSHEET AS OF OCTOBER 16, 2002
CHANGES TO COST ANALYSIS SINCE MARCH 29TH TECH REVIEW REPORT
1 | Corrected Equipment Costs by replacing 0.25 with 0.88 on Summary worksheet
to correct error in original cost analysis. This change increased equipment costs
by a factor of 3.5 as compared to the Feb. 2000 EVR staff report.
Present Value Annualized Costs (AC)
| Year 1 | (AC) |  | = (AC)
| Year 2 | (AC)(1/[1+ i]) |  | = (AC)(0.91)
| Year 3 | (AC)(1/[1+ i]2) |  | = (AC)(0.83)
| Year 4 | (AC)(1/[1+ i]3) |  | = (AC)(0.75)
Assume 25% of stations upgrade to EVR in each year
Total Annual Equipment cost = (0.25)(AC) + (0.25)(AC)(0.91) + (0.25)(AC)(0.83) + (0.25)(AC)(0.75)
= (0.25)(AC) + (0.23)(AC) + (0.21)(AC) + (0.19)(AC)
= (0.88)(AC)
2 | Reduced R&D and certification costs by halving the number of expected certified systems:
|  | Phase I | was 14 | now 7
|  | Phase II | was 64 | now 32
|  | ISD | was 16 | now 8
3 | Increased ISD "worst-case" equipment costs based on 6/13/02 Veeder-Root e-mail
|  |  | tech rev | now
| TLS-350ISD |  | 4500 | 3995
| Dispenser Interface |  |  | 670
| Pressure sensor |  | 750 | 595
| Flow sensor |  | 900 | 885
| Inventory sensor |  | not incl | 1095
|  |  | GDF1 | GDF2 | GDF3 | GDF4 | GDF5
| EVR Tech Review |  | 6150 | 6600 | 7950 | 9300 | 10650
| Now |  | 8883 | 9625 | 10656 | 11980 | 13308
4 | Reduced ISD installation costs based on 4/15/02 Veeder-Root comment letter
EVR ISOR was $1230 per dispenser
EVR Tech Review doubled cost to $$2560 per dispenser
Veeder-Root costs based on experience in installing ISD at nine sites ($55/hr):
Two line items: Base install per facility and per-dispenser install
|  |  | Base | Per Dispenser |  | Example: GDF 3
|  | New | 250 | 125 |  | $250 + 3 x $125 = $625
|  | Retrofit | 300 | 200 |  | $300 + 3 x $200 = $900
The higher retrofit costs were used for the cost analysis.
5 | Revised ISD maintenance/calibration/repair costs
EVR ISOR did not include these costs
EVR Tech Review assumed $1200/yr as suggested by Glenn Co. APCD
Veeder-Root suggests costs depend on number of ISD components
Unit Cost
|  | A/L sensor | 300
|  | Pressure sensor | 200 |  | GDF1 | GDF2 | GDF3 | GDF4 | GDF5
|  | Datalogger | 50 | TOTAL | 550 | 700 | 1150 | 1600 | 2050
6 | Revised ISD emission reductions from 6.6 to 8.5 tons/day as calculated in tech review report.
7 | Revise ORVR emission reductions from 6.3 to 4.5 tons/day as calculated in tech review report.
8 | Adjust ISD costs to 1999 Dollars
The original EVR cost analysis was in terms of 1999 dollars. The ISD costs are in terms of 2001
dollars. The ISD costs have been adjusted to 1999 values by 0.94.
This is the ratio of the 1999 Consumer Price Index (CPI) to the 2001 CPI (166.6/177.1 = 0.941).
9 | Update to 1999 Gasoline Throughput
The original EVR cost analysis used the 1997 total CA Gasoline throughput of 13.5 billion gallons.
The throughput has been updated to the 1999 total CA gasoline throughput of 14.5 billion gallons
10 | Added costs for annual balance station field testing
Currently, balance systems are required in most districts to be tested every five years. EVR will
require annual testing of balance systems as part of ISD maintenance & calibration. Costs are estimated
at $500 annually, as estimated by the SCAQMD vapor recovery rule staff report.
11 | Clarified number of dispensers vs. number of fueling points for input variable table on summary page.
For example, the original table denoted 2 dispensers for GDF1, but this is intended to be 1 dispenser
with two fueling points as denoted in Table 2-12 of ISOR reference 26, USEPA Phase II Technical Guidance
12 | Revised Phase I Equipment and Installation Costs
Cost data from site upgraded to EVR Phase I in summer 2002 used to revise Phase I cost esimates:
Equipment Cost changes:
| a) | revise cost of P/V valve from $65 to $80
| b) | double number of spill containers from 2.5 to 5 to include both vapor and liquid sides
| c) | revised cost of spill container from $351 to $390 (includes one pump for draining)
| d) | revised cost of drop tube/overfill protection from $178 to $400
| e) | double number of adaptors from 2.5 to 5 to include both vapor and liquid sides
| f) | revised cost of adaptor from $55 to $219 (includes caps and service kit)
Installation Cost changes:
| a) | revise installation cost of P/V valve from $80 to $16
| b) | revise installation cost of spill container from $160 to $190 (assume 5% direct burial replacement)
| c) | revise installation cost of overfill protection and other tank parts from $160 to $155
| d) | revise installation cost of adaptor from $80 to $41
| e) | add post-installation tank testing cost - $131
13 | Revised Summary Sheet to reflect ISD Exemption for GDF1

## Sum
COST-EFFECTIVENESS SUMMARY
Input Values Used in Cost Analysis
Input value for each Model GDF
Input variable used in Cost Analysis |  |  | 1 | 2 | 3 | 4 | 5
Nominal Monthly Average Sales per GDF, gals/month-GDF (EPA, 1991) |  |  | 13233.0508 | 37500 | 75000 | 150000 | 300000
Population Distribution (EPA, 1991 adjusted to fit current pop-wtd average) |  |  | 4.72% | 14.1% | 45.65% | 31.3% | 4.224%
Estimated Number of GDFs (11,250 total) |  |  | 531 | 1586.25 | 5135.85 | 3521.7 | 475.2
Total Annual Sales, million gals/yr |  |  | 84.321 | 769.1498 | 4980.5995 | 6830.4866 | 1843.3411
Number of Processors per GDF (when applicable) |  |  | 1 | 1 | 1 | 1 | 1
Number of Drop Tubes & Spill Buckets per GDF |  |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Wtd-Avg Number of Nozzles per GDF (EPA, 1991) |  |  | 2.5 | 3.25 | 6.5 | 9.75 | 16.25
Number of Fueling Points per GDF (EPA, 1991) |  |  | 2 | 3 | 6 | 9 | 12
Est. population-wtd average gallons per month using population above |  |  | 99779.1 |  | Total 1999 CA gasoline sales = | 14514435002 | gals
Actual population-wtd average gallons per month |  |  | 99865 |  | Total GDFs in CA in 1998 = | 11250
Emission Reductions per Model GDF
|  | 2010 | Emission Reductions
|  | ROG Reductions | by Model GDF and Module, tons/day
Module | Description | Statewide, tons/day | 1 | 2 | 3 | 4 | 5
1 | Phase I | 5.5 | 0.031966 | 0.29159 | 1.8882 | 2.5895 | 0.69882
2 | Phase II | 3.1 | 0.018017 | 0.16435 | 1.0642 | 1.4595 | 0.39388
3 | ORVR Compatibility | 4.5 | 0.026154 | 0.23857 | 1.5449 | 2.1187 | 0.57176
4 | Liquid Retention | 0.2 | 0.0011624 | 0.010603 | 0.068661 | 0.094162 | 0.025412
5 | Spillage/Dripless Nozzle | 3.9 | 0.022667 | 0.20676 | 1.3389 | 1.8362 | 0.49553
6 | In-Station Diagnostics | 8.5 | 1e-08 | 0.45064 | 2.9181 | 4.0019 | 1.08
| Total | 25.7 | 0.099968 | 1.3625 | 8.8229 | 12.0999 | 3.2654
Cost-Effectiveness (C.E.) & Impacts to GDFs and Consumers
|  |  | Cost-Effectiveness by Model GDF and Module |  |  |  |  | Overall
|  |  | 1999 Dollars per Pound ROG Reduced |  |  |  |  | Cost-Effectiveness
Module | Description |  | 1 | 2 | 3 | 4 | 5 | by Module only
1 | Phase I C.E. (Annual Costs/Annual Reductions) |  | 25.4383 | 8.1611 | 3.9544 | 3.7869 | 0.81085 | 3.824
| Annualized Equip Costs (assumes 25%/yr conversion) |  | 571908.0433 | 1708454.1124 | 5531513.9815 | 7425437.293 | 511809.232
| Annualized R&D Costs (assume 5% of Total R&D) |  | 16580.3839 | 49530.3842 | 160366.0353 | 109964.4784 | 13998.1495
| Annualized Cert & Testing (assume 5% of Total Cert) |  | 11015.3142 | 32905.9173 | 106540.492 | 73055.8039 | 9299.7855
| Annual Gasoline Recovery Credit |  | -5889.4315 | -53721.5531 | -347871.8217 | -450073.4641 | -121461.1751
2 | Phase II C.E. (Annual Costs/Annual Reductions) |  | 105.9332 | 36.801 | 23.2106 | 13.9473 | 8.0882 | 18.1292
| Annualized Equip Costs (assumes 25%/yr conversion) |  | 1120673.3771 | 3621113.6744 | 15559187.0651 | 13298771.8947 | 2151227.2088
| Annualized R&D Costs (assume 50% of Total R&D) |  | 165803.8392 | 495303.8417 | 1603660.3533 | 1099644.7845 | 148380.3849
| Annualized Cert & Testing (assume 50% of Total Cert) |  | 110153.1417 | 329059.1732 | 1065404.9201 | 730558.0395 | 98577.7268
| Annual Gasoline Recovery Credit |  | -3319.4978 | -30279.4208 | -196073.2086 | -268898.4369 | -72567.5311
3 | ORVR Compatibility (Annual Costs/Annual Reductions) |  | 6.9181 | 2.6586 | 2.1996 | 1.4575 | 0.9603 | 1.7445
| Annualized Equip Costs (assumes 25%/yr conversion) |  | 81712.6319 | 342102.0148 | 2215268.2524 | 2278544.9938 | 456764.7642
| Annualized R&D Costs (assume 10% of Total R&D) |  | 33160.7678 | 99060.7683 | 320732.0707 | 219928.9569 | 29676.077
| Annualized Cert & Testing (assume 10% of Total Cert) |  | 22030.6283 | 65811.8346 | 213080.984 | 146111.6079 | 19715.5454
| Annual Gasoline Recovery Credit |  | -4818.6258 | -43953.998 | -268511.6977 | -390336.4407 | -105339.9646
4 | Liquid Retention (Annual Costs/Annual Reductions) |  | 62.1914 | 23.1374 | 17.8123 | 11.9648 | 9.0411 | 14.4851
| Annualized Equip Costs (assumes 25%/yr conversion) |  | 25391.7768 | 98608.3197 | 638534.3281 | 656773.3705 | 147702.6747
| Annualized R&D Costs (assume 5% of Total R&D) |  | 16580.3839 | 49530.3842 | 160366.0353 | 109964.4784 | 14838.0385
| Annualized Cert & Testing (assume 5% of Total Cert) |  | 11015.3142 | 32905.9173 | 106540.492 | 73055.8039 | 9857.7727
| Annual Gasoline Recovery Credit |  | -214.1611 | -1953.511 | -12649.8844 | -17348.2863 | -4681.7762
5 | Spillage/Dripless Nozzle (Annual Costs/Annual Reductions) |  | 2.9499 | 0.9471 | 0.67401 | 0.37414 | 0.22421 | 0.50338
| Annualized Equip Costs (assumes 25%/yr conversion) |  | 25391.7768 | 98608.3197 | 638534.3281 | 656773.3705 | 147702.6747
| Annualized R&D Costs (assume 5% of Total R&D) |  | 16580.3839 | 49530.3842 | 160366.0353 | 109964.4784 | 14838.0385
| Annualized Cert & Testing (assume 5% of Total Cert) |  | 11015.3142 | 32905.9173 | 106540.492 | 73055.8039 | 9857.7727
| Annual Gasoline Recovery Credit |  | -4176.1423 | -38093.4649 | -246672.7463 | -338291.5819 | -91294.636
6 | In-Station Diagnostics (Annual Costs/Annual Reductions) |  | 0 | 11.4552 | 7.0352 | 4.1109 | 2.2928 | 5.2493
| Annualized Equip Costs (assumes 25%/yr conversion) |  | 0 | 3457830.1802 | 14234624.4148 | 11841910.0024 | 1878890.3974
| Annualized R&D Costs (assume 25% of Total R&D) |  | 0 | 233633.8876 | 756443.5629 | 518700.37 | 69990.7476
| Annualized Cert & Testing (assume 25% of Total Cert) |  | 0 | 155216.5911 | 502549.4906 | 344602.8488 | 46498.9277
| Annual Gasoline Recovery Credit |  | 0 | -78324.7344 | -507188.7623 | -695568.0809 | -187712.7251
| Total Annual Costs by Model GDF Category |  | 2220595.2187 | 10705784.9401 | 42501285.2128 | 37606302.0889 | 5196568.1105 | 98230535.571
| Total Annual Costs per each GDF in a Model GDF Category |  | 4181.9119 | 6749.1158 | 8275.414 | 10678.4513 | 10935.539 | overall annual cost
| Per-gallon cost increase for consumers, cents/gallon |  | 2.6335 | 1.3919 | 0.85334 | 0.55057 | 0.28191 | 0.67678
| Non-Wtd Cost-Effectiveness for All Modules by Model GDF |  | 30.4289 | 10.7636 | 6.5989 | 4.2575 | 2.18 | avg. per-gal increase
| Notes: | [6 empty] | (cents per gallon)
| Gasoline price/gal assumed = | 1.5
Per-gallon increase for consumers assumes all costs passed on to consumers
| Gasoline density, lb/gal = | 6.3
|  | OVERALL COST EFFECTIVENESS: | Total costs/ Total Emission Benefits
= (costs [$/yr])/(emissions[tons/day){1ton/2000lb}{1yr/365days}
|  | = | 5.2359 | dollars/lb

## PGCbyGDF
Per-Gallon Cost Increase by Module and Model GDF
Per-Gallon Cost Increase
by Module and Model GDF, cents per gallon
| Model GDF | 1 | 2 | 3 | 4 | 5
Module | Per-GDF Throughput, gals/mo | 13233.0508 | 37500 | 75000 | 150000 | 300000
1 | Phase I | 0.70399 | 0.22586 | 0.10944 | 0.1048 | 0.02244
2 | Phase II | 1.6524 | 0.57404 | 0.36205 | 0.21756 | 0.12616
3 | ORVR Compatibility | 0.15665 | 0.060199 | 0.049805 | 0.033003 | 0.021744
4 | Liquid Retention | 0.062586 | 0.023284 | 0.017925 | 0.012041 | 0.0090985
5 | Spillage/Dripless Nozzle | 0.057888 | 0.018586 | 0.013227 | 0.0073421 | 0.0043998
6 | In-Station Diagnostics | 0 | 0.48994 | 0.3009 | 0.17582 | 0.098065
Total Cents per Gal Increase by Model GDF |  | 2.6335 | 1.3919 | 0.85334 | 0.55057 | 0.28191

## PGCbyMod
Per-Gallon Cost Increase by Module
Module | Description | Annual Costs, $Million/yr | Cents per Gallon
1 | Phase I | 15.3534 | 0.10578
2 | Phase II | 41.0264 | 0.28266
3 | ORVR | 5.7307 | 0.039483
4 | Liq. Ret. | 2.1148 | 0.01457
5 | Spillage | 1.4331 | 0.0098739
6 | ISD | 32.5721 | 0.22441
| Total | 98.2305 | 0.67678

## GDF 1
Estimated Equipment Costs for a Model GDF 1 Facility per Proposed Module
|  | Unit Cost |  | Number of Components in Model GDF
Proposed Module |  | 1999 Dollars |  | Bal-1 | Bal-2 | Hybrid | Assist-1 | Assist-2
Module 1 (Phase I) |  |  | NEW
Phase I Components
Pressure/Vacuum (P/V) valve |  | 65 | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover |  | 351 | 390 | 5 | 5 | 5 | 5 | 5
Drop tube & overfill protection |  | 178 | 400 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor |  | 55 | 219 | 5 | 5 | 5 | 5 | 5
Installation Costs
Pressure/Vacuum (P/V) Valve |  | 80 | 16 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover |  | 160 | 190 | 5 | 5 | 5 | 5 | 5
Drop tube & overfill protection |  | 160 | 155 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor |  | 80 | 41 | 5 | 5 | 5 | 5 | 5
Post-installation tank testing |  |  | 131
Module 1 -- Total Fixed Cost (All Equipment) |  |  |  | 5958.5 | 5958.5 | 5958.5 | 5958.5 | 5958.5
Module 1 -- Total Annualized Cost = Total Fixed Cost x CRF2 |  |  |  | 1223.9087 | 1223.9087 | 1223.9087 | 1223.9087 | 1223.9087
|  |  |  | Avg Fixed | 5958.5 | Avg Annual |  | 1223.9087
Module 2 (Phase II w/pressure-related fugitives)
Dispenser Components
Nozzle -- Balance |  | 200 |  | 2.5 | 2.5
Nozzle -- Hybrid |  | 231.25 |  |  |  | 2.5
Nozzle -- Assist Type 1 |  | 208.83 |  |  |  |  | 2.5
Nozzle -- Assist Type 2 |  | 224.78 | [5 empty] | 2.5
Modified Equipment (Dispenser-related) -- Balance |  | 381.82 |  | 2.5 | 2.5
Modified Equipment (Dispenser-related) -- Hybrid |  | 467.87 |  |  |  | 2.5
Modified Equipment (Dispenser-related) -- Assist Type 1 |  | 400.11 |  |  |  |  | 2.5
Modified Equipment (Dispenser-related) -- Assist Type 2 |  | 220.49 | [5 empty] | 2.5
Auxilliary Items (incl. P/V, collection & processor)
Assist Type 1 |  | 7500 |  |  |  |  | 1
Assist Type 2 |  | 9000 | [5 empty] | 1
Vapor processor
for those Balance systems that use processors |  | 7500 |  | 1 | 1 | 1
Installation Costs |  |  | old
Nozzle -- Balance |  | 172.08 | 86.04 | 2.5 | 2.5
Nozzle -- Hybrid |  | 215.12 | 107.56 |  |  | 2.5
Nozzle -- Assist Type 1 |  | 96.8 | 48.4 |  |  |  | 2.5
Nozzle -- Assist Type 2 |  | 107.56 | 53.78 |  |  |  |  | 2.5
Modified Equipment (Dispenser-related) -- Balance |  | 344.16 | 172.08 | 2.5 | 2.5
Modified Equipment (Dispenser-related) -- Hybrid |  | 430.24 | 215.12 |  |  | 2.5
Modified Equipment (Dispenser-related) -- Assist Type 1 |  | 193.6 | 96.8 |  |  |  | 2.5
Modified Equipment (Dispenser-related) -- Assist Type 2 |  | 215.12 | 107.56 |  |  |  |  | 2.5
Auxilliary Items -- Assist Type 1 |  | 3011.56 | 1505.78 |  |  |  | 1
Auxilliary Items -- Assist Type 2 |  | 2581.34 | 1290.67 |  |  |  |  | 1
Vapor processor -- Balance |  | 3012 | 1506 | 1 | 1 | 1
Module 2 -- Total Fixed Cost (All Equipment) |  |  |  | 13257.15 | 13257.15 | 13873.2 | 12759.91 | 13501.215
Module 2 -- Total Fixed Cost (TFC Nozzles) |  |  |  | 715.1 | 715.1 | 847.025 | 643.075 | 696.4
Module 2 -- Total Fixed Cost (TFC Dispensers) |  |  |  | 1384.75 | 1384.75 | 1707.475 | 1242.275 | 820.125
Module 2 -- Total Fixed Cost (TFC All Other Equipment) |  |  |  | 11157.3 | 11157.3 | 11318.7 | 10874.56 | 11984.69
Module 2 -- Annualized Cost = Fixed Costs (TFC Nozzles) x CRF3 |  |  |  | 287.5523 | 287.5523 | 340.6013 | 258.59 | 280.0327
Module 2 -- Annualized Cost = Fixed Costs (TFC Dispensers) x CRF2 |  |  |  | 284.4353 | 284.4353 | 350.7248 | 255.1701 | 168.4582
Module 2 -- Annualized Cost = Fixed Cost (TFC All Others) x CRF1 |  |  |  | 1815.7992 | 1815.7992 | 1842.0663 | 1769.7846 | 1950.4531
Module 2 -- Total Annualized Costs (All Equipment) |  |  |  | 2387.7868 | 2387.7868 | 2533.3923 | 2283.5447 | 2398.944
|  |  |  | Avg Fixed | 13329.725 | Avg Annual |  | 2398.2909
Module 3 (ORVR Compatibility)
Components
Nozzle (Healy ORVR compatible drop-in assist nozzle) |  | 54.2013 |  |  |  |  | 2.5 | 2.5
Assumed 25% premium over Module 2-compliant
nozzle (applies to assist only)
Dispenser sensor & related electronics |  | 200 |  | 2 | 2 | 2
(Hoffer Flow Control)
Installation Costs
Nozzle (Healy ORVR compatible drop-in assist nozzle)* |  | 160 |  |  |  |  | 2.5 | 2.5
Dispenser sensor & related electronics |  | 160 |  | 2 | 2 | 2
Module 3 -- Total Fixed Costs (Equipment Purchase + Installation) |  |  |  | 720 | 720 | 720 | 535.5031 | 535.5031
Module 3 -- Total Fixed Costs (Nozzles) |  |  |  | 0 | 0 | 0 | 535.5031 | 535.5031
Module 3 -- Total Fixed Costs (Dispensers) |  |  |  | 720 | 720 | 720 | 0 | 0
Module 3 -- Annualized Costs = Fixed Costs (Nozzles) x CRF3 |  |  |  | 0 | 0 | 0 | 215.3337 | 215.3337
Module 3 -- Annualized Costs = Fixed Costs (Dispensers) x CRF2 |  |  |  | 147.892 | 147.892 | 147.892 | 0 | 0
Module 3 -- Total Annualized Costs (All Equipment) |  |  |  | 147.892 | 147.892 | 147.892 | 215.3337 | 215.3337
|  |  |  | Avg Fixed | 646.2013 | Avg Annual |  | 174.8687
Module 4 (Liquid Retention -- Redesigned Nozzle)
Assumed 25% premium over Module 2-compliant |  | 54.0538 |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
nozzle; in-nozzle design only; no extra installation
Module 4 -- Total Fixed Costs (Equipment Purchase + Installation) |  |  |  | 135.1344 | 135.1344 | 135.1344 | 135.1344 | 135.1344
Module 4 -- Annualized Costs = Fixed Costs x CRF3 |  |  |  | 54.3395 | 54.3395 | 54.3395 | 54.3395 | 54.3395
|  |  |  | Avg Fixed | 135.1344 | Avg Annual |  | 54.3395
Module 5 (Spillage, including Dripless Nozzle)
Assumed 25% premium over Module 2-compliant |  | 54.0538 |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
nozzle; in-nozzle design only; no extra installation
Module 5 -- Total Fixed Costs (All Equipment) |  |  |  | 135.1344 | 135.1344 | 135.1344 | 135.1344 | 135.1344
Module 5 -- Annualized Costs = Fixed Costs x CRF3 |  |  |  | 54.3395 | 54.3395 | 54.3395 | 54.3395 | 54.3395
|  |  |  | Avg Fixed | 135.1344 | Avg Annual |  | 54.3395
Module 6 (In-Station Diagnostics)
Components (Veeder-Root Cost Estimates) |  |  | (OLD)
Sensors -- Pressure |  | 595 | 192 | 1 | 1 | 1 | 1 | 1
Sensors -- A/L |  | 885 | 245 | 1 | 1 | 1 | 1 | 1
Datalogger w/EPROM & new CPU/motherboard |  | 3995 | 1197 | 1 | 1 | 1 | 1 | 1
Dispenser interface |  | 670 |  | 1 | 1 | 1 | 1 | 1
Inventory sensor (ATG) |  | 1095 |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Installation Costs: assume retrofit costs of $300 base + $200 per dispenser
|  | 500 | 1280 | 1 | 1 | 1 | 1 | 1
Module 6 -- Total Fixed Costs (All Equipment) |  |  |  | 9382.5 | 9382.5 | 9382.5 | 9382.5 | 9382.5
Module 6 -- Annualized Costs = Total Fixed Costs x CRF1 |  |  |  | 1526.9587 | 1526.9587 | 1526.9587 | 1526.9587 | 1526.9587
| Module 6 - Annualized maintenance/calib/repair |  |  | 520 | 520 | 520 | 520 | 520
| Additional cost for annual balance system tests |  |  | 500 | 500 | 500 | 0 | 0
|  |  |  | Avg Fixed | 9382.5 | Avg Annual |  | 2346.9587
Total Fixed Costs (All Modules) |  |  |  | 29588.4188 | 29588.4188 | 30204.4688 | 28906.6819 | 29647.9869
Total Annualized Fixed Costs (All Modules) |  |  |  | 6415.2251 | 6415.2251 | 6560.8307 | 5878.4248 | 5993.8242
Notes
Cost Recovery Factor CRF1 (10% discount, 10 yr. life) -- All Others |  | 0.16275 |  |  | Average Total Fixed Cost |  |  | 29587.195
Cost Recovery Factor CRF2 (10% discount, 7 yr. life) -- Dispensers |  | 0.20541 |  |  | Average Total Annualized Cost |  |  | 6252.706
Cost Recovery Factor CRF3 (10% discount, 3 yr. life) -- Nozzles |  | 0.40211
* from Healy Systems, 1999.

## GDF 2
Estimated Equipment Costs for a Model GDF 2 Facility per Proposed Module
| Unit Cost |  | Number of Components in Model GDF
Proposed Module | 1999 Dollars |  | Bal-1 | Bal-2 | Hybrid | Assist-1 | Assist-2
Module 1 (Phase I) |  | NEW
Phase I Components
Pressure/Vacuum (P/V) valve | 65 | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 351 | 390 | 5 | 5 | 5 | 5 | 5
Drop tube & overfill protection | 178 | 400 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 55 | 219 | 5 | 5 | 5 | 5 | 5
Installation Costs
Pressure/Vacuum (P/V) Valve | 80 | 16 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 160 | 190 | 5 | 5 | 5 | 5 | 5
Drop tube & overfill protection | 160 | 155 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 80 | 41 | 5 | 5 | 5 | 5 | 5
Post-installation tank testing |  | 131
Module 1 -- Total Fixed Cost (All Equipment) |  |  | 5958.5 | 5958.5 | 5958.5 | 5958.5 | 5958.5
Module 1 -- Total Annualized Cost = Total Fixed Cost x CRF2 |  |  | 1223.9087 | 1223.9087 | 1223.9087 | 1223.9087 | 1223.9087
|  |  | Avg Fixed | 5958.5 | Avg Annual |  | 1223.9087
Module 2 (Phase II w/pressure-related fugitives)
Dispenser Components
Nozzle -- Balance | 200 |  | 3.25 | 3.25
Nozzle -- Hybrid | 231.25 |  |  |  | 3.25
Nozzle -- Assist Type 1 | 208.83 |  |  |  |  | 3.25
Nozzle -- Assist Type 2 | 224.78 | [5 empty] | 3.25
Modified Equipment (Dispenser-related) -- Balance | 381.82 |  | 3.25 | 3.25
Modified Equipment (Dispenser-related) -- Hybrid | 467.87 |  |  |  | 3.25
Modified Equipment (Dispenser-related) -- Assist Type 1 | 400.11 |  |  |  |  | 3.25
Modified Equipment (Dispenser-related) -- Assist Type 2 | 220.49 | [5 empty] | 3.25
Auxilliary Items (incl. P/V, collection & processor)
Assist Type 1 | 7500 |  |  |  |  | 1
Assist Type 2 | 9000 | [5 empty] | 1
Vapor processor
for those Balance systems that use processors | 7500 |  | 1 | 1 | 1
Installation Costs |  | OLD
Nozzle -- Balance | 172.08 | 86.04 | 3.25 | 3.25
Nozzle -- Hybrid | 215.12 | 107.56 |  |  | 3.25
Nozzle -- Assist Type 1 | 96.8 | 48.4 |  |  |  | 3.25
Nozzle -- Assist Type 2 | 107.56 | 53.78 |  |  |  |  | 3.25
Modified Equipment (Dispenser-related) -- Balance | 344.16 | 172.08 | 3.25 | 3.25
Modified Equipment (Dispenser-related) -- Hybrid | 430.24 | 215.12 |  |  | 3.25
Modified Equipment (Dispenser-related) -- Assist Type 1 | 193.6 | 96.8 |  |  |  | 3.25
Modified Equipment (Dispenser-related) -- Assist Type 2 | 215.12 | 107.56 |  |  |  |  | 3.25
Auxilliary Items -- Assist Type 1 | 3011.56 | 1505.78 |  |  |  | 1
Auxilliary Items -- Assist Type 2 | 2581.34 | 1290.67 |  |  |  |  | 1
Vapor processor -- Balance | 3012 | 1506 | 1 | 1 | 1
Module 2 -- Total Fixed Cost (All Equipment) |  |  | 14080.695 | 14080.695 | 14881.56 | 13434.415 | 14077.1775
Module 2 -- Total Fixed Cost (TFC Nozzles) |  |  | 929.63 | 929.63 | 1101.1325 | 835.9975 | 905.32
Module 2 -- Total Fixed Cost (TFC Dispensers) |  |  | 1800.175 | 1800.175 | 2219.7175 | 1614.9575 | 1066.1625
Module 2 -- Total Fixed Cost (TFC All Other Equipment) |  |  | 11350.89 | 11350.89 | 11560.71 | 10983.46 | 12105.695
Module 2 -- Annualized Cost = Fixed Costs (TFC Nozzles) x CRF3 |  |  | 373.818 | 373.818 | 442.7817 | 336.167 | 364.0426
Module 2 -- Annualized Cost = Fixed Costs (TFC Dispensers) x CRF2 |  |  | 369.7658 | 369.7658 | 455.9422 | 331.7212 | 218.9956
Module 2 -- Annualized Cost = Fixed Cost (TFC All Others) x CRF1 |  |  | 1847.3051 | 1847.3051 | 1881.4523 | 1787.5075 | 1970.1461
Module 2 -- Total Annualized Costs (All Equipment) |  |  | 2590.8889 | 2590.8889 | 2780.1762 | 2455.3957 | 2553.1843
|  |  | Avg Fixed | 14110.9085 | Avg Annual |  | 2594.1068
Module 3 (ORVR Compatibility)
Components
Nozzle (Healy ORVR compatible drop-in assist nozzle) | 54.2013 |  |  |  |  | 3.25 | 3.25
Assumed 25% premium over Module 2-compliant
nozzle (applies to assist only)
Dispenser sensor & related electronics | 200 |  | 3 | 3 | 3
(Hoffer Flow Control)
Installation Costs
Nozzle (Healy ORVR compatible drop-in assist nozzle)* | 160 |  |  |  |  | 3.25 | 3.25
Dispenser sensor & related electronics | 160 |  | 3 | 3 | 3
Module 3 -- Total Fixed Costs (Equipment Purchase + Installation) |  |  | 1080 | 1080 | 1080 | 696.1541 | 696.1541
Module 3 -- Total Fixed Costs (Nozzles) |  |  | 0 | 0 | 0 | 696.1541 | 696.1541
Module 3 -- Total Fixed Costs (Dispensers) |  |  | 1080 | 1080 | 1080 | 0 | 0
Module 3 -- Annualized Costs = Fixed Costs (Nozzles) x CRF3 |  |  | 0 | 0 | 0 | 279.9339 | 279.9339
Module 3 -- Annualized Costs = Fixed Costs (Dispensers) x CRF2 |  |  | 221.8379 | 221.8379 | 221.8379 | 0 | 0
Module 3 -- Total Annualized Costs (All Equipment) |  |  | 221.8379 | 221.8379 | 221.8379 | 279.9339 | 279.9339
|  |  | Avg Fixed | 926.4616 | Avg Annual |  | 245.0763
Module 4 (Liquid Retention -- Redesigned Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 |  | 3.25 | 3.25 | 3.25 | 3.25 | 3.25
nozzle; in-nozzle design only; no extra installation
Module 4 -- Total Fixed Costs (Equipment Purchase + Installation) |  |  | 175.6747 | 175.6747 | 175.6747 | 175.6747 | 175.6747
Module 4 -- Annualized Costs = Fixed Costs x CRF3 |  |  | 70.6414 | 70.6414 | 70.6414 | 70.6414 | 70.6414
|  |  | Avg Fixed | 175.6747 | Avg Annual |  | 70.6414
Module 5 (Spillage, including Dripless Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 |  | 3.25 | 3.25 | 3.25 | 3.25 | 3.25
nozzle; in-nozzle design only; no extra installation
Module 5 -- Total Fixed Costs (All Equipment) |  |  | 175.6747 | 175.6747 | 175.6747 | 175.6747 | 175.6747
Module 5 -- Annualized Costs = Fixed Costs x CRF3 |  |  | 70.6414 | 70.6414 | 70.6414 | 70.6414 | 70.6414
|  |  | Avg Fixed | 175.6747 | Avg Annual |  | 70.6414
Module 6 (In-Station Diagnostics)
Components |  | (OLD)
Sensors -- Pressure | 595 | 192 | 1 | 1 | 1 | 1 | 1
Sensors -- A/L | 885 | 245 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
Datalogger w/EPROM & new CPU/motherboard | 3995 | 1197 | 1 | 1 | 1 | 1 | 1
Dispenser interface | 670 |  | 1 | 1 | 1 | 1 | 1
Inventory sensor (ATG) | 1095 |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Installation Costs: assume retrofit costs of $300 base + $200 per dispenser
| 600 | 1280 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
Module 6 -- Total Fixed Costs (All Equipment) |  |  | 9925 | 9925 | 9925 | 9925 | 9925
Module 6 -- Annualized Costs = Total Fixed Costs x CRF1 |  |  | 1615.248 | 1615.248 | 1615.248 | 1615.248 | 1615.248
Module 6 - Annualized maintenance/calib/repair |  |  | 720 | 720 | 720 | 720 | 720
Additional cost for annual balance system tests |  |  | 500 | 500 | 500 | 0 | 0
|  |  | Avg Fixed | 9925 | Avg Annual |  | 2635.248
Total Fixed Costs (All Modules) |  |  | 31395.5444 | 31395.5444 | 32196.4094 | 30365.4184 | 31008.1809
Total Annualized Fixed Costs (All Modules) |  |  | 7013.1663 | 7013.1663 | 7202.4536 | 6435.769 | 6533.5577
Notes
Cost Recovery Factor CRF1 (10% discount, 10 yr. life) -- All Others | 0.16275 |  |  | Average Total Fixed Cost |  |  | 31272.2195
Cost Recovery Factor CRF2 (10% discount, 7 yr. life) -- Dispensers | 0.20541 |  |  | Average Total Annualized Cost |  |  | 6839.6226
Cost Recovery Factor CRF3 (10% discount, 3 yr. life) -- Nozzles | 0.40211
* from Healy Systems, 1999.

## GDF 3
Estimated Equipment Costs for a Model GDF 3 Facility per Proposed Module
|  | Unit Cost |  | Number of Components in Model GDF
Proposed Module |  | 1999 Dollars |  | Bal-1 | Bal-2 | Hybrid | Assist-1 | Assist-2
Module 1 (Phase I) |  |  | NEW
Phase I Components
Pressure/Vacuum (P/V) valve |  | 65 | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover |  | 351 | 390 | 5 | 5 | 5 | 5 | 5
Drop tube & overfill protection |  | 178 | 400 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor |  | 55 | 219 | 5 | 5 | 5 | 5 | 5
Installation Costs
Pressure/Vacuum (P/V) Valve |  | 80 | 16 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover |  | 160 | 190 | 5 | 5 | 5 | 5 | 5
Drop tube & overfill protection |  | 160 | 155 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor |  | 80 | 41 | 5 | 5 | 5 | 5 | 5
Post-installation tank testing |  |  | 131
Module 1 -- Total Fixed Cost (All Equipment) |  |  |  | 5958.5 | 5958.5 | 5958.5 | 5958.5 | 5958.5
Module 1 -- Total Annualized Cost = Total Fixed Cost x CRF2 |  |  |  | 1223.9087 | 1223.9087 | 1223.9087 | 1223.9087 | 1223.9087
|  |  |  | Avg Fixed | 5958.5 | Avg Annual |  | 1223.9087
Module 2 (Phase II w/pressure-related fugitives)
Dispenser Components
Nozzle -- Balance |  | 200 |  | 6.5 | 6.5
Nozzle -- Hybrid |  | 231.25 |  |  |  | 6.5
Nozzle -- Assist Type 1 |  | 208.83 |  |  |  |  | 6.5
Nozzle -- Assist Type 2 |  | 224.78 | [5 empty] | 6.5
Modified Equipment (Dispenser-related) -- Balance |  | 381.82 |  | 6.5 | 6.5
Modified Equipment (Dispenser-related) -- Hybrid |  | 467.87 |  |  |  | 6.5
Modified Equipment (Dispenser-related) -- Assist Type 1 |  | 400.11 |  |  |  |  | 6.5
Modified Equipment (Dispenser-related) -- Assist Type 2 |  | 220.49 | [5 empty] | 6.5
Auxilliary Items (incl. P/V, collection & processor)
Assist Type 1 |  | 7500 |  |  |  |  | 1
Assist Type 2 |  | 9000 | [5 empty] | 1
Vapor processor
for those Balance systems that use processors |  | 7500 |  | 1 | 1 | 1
Installation Costs
Nozzle -- Balance | 86.04 | 172.08 |  | 6.5 | 6.5
Nozzle -- Hybrid | 107.56 | 215.12 |  |  |  | 6.5
Nozzle -- Assist Type 1 | 48.4 | 96.8 |  |  |  |  | 6.5
Nozzle -- Assist Type 2 | 53.78 | 107.56 | [5 empty] | 6.5
Modified Equipment (Dispenser-related) -- Balance | 172.08 | 344.16 |  | 6.5 | 6.5
Modified Equipment (Dispenser-related) -- Hybrid | 215.12 | 430.24 |  |  |  | 6.5
Modified Equipment (Dispenser-related) -- Assist Type 1 | 96.8 | 193.6 |  |  |  |  | 6.5
Modified Equipment (Dispenser-related) -- Assist Type 2 | 107.56 | 215.12 | [5 empty] | 6.5
Auxilliary Items -- Assist Type 1 | 1505.78 | 3011.56 |  |  |  |  | 1
Auxilliary Items -- Assist Type 2 | 1290.67 | 2581.34 | [5 empty] | 1
Vapor processor -- Balance | 1506 | 3012 |  | 1 | 1 | 1
Module 2 -- Total Fixed Cost (All Equipment) |  |  |  | 17649.39 | 17649.39 | 19251.12 | 16357.27 | 16573.015
Module 2 -- Total Fixed Cost (TFC Nozzles) |  |  |  | 1859.26 | 1859.26 | 2202.265 | 1671.995 | 1810.64
Module 2 -- Total Fixed Cost (TFC Dispensers) |  |  |  | 3600.35 | 3600.35 | 4439.435 | 3229.915 | 2132.325
Module 2 -- Total Fixed Cost (TFC All Other Equipment) |  |  |  | 12189.78 | 12189.78 | 12609.42 | 11455.36 | 12630.05
Module 2 -- Annualized Cost = Fixed Costs (TFC Nozzles) x CRF3 |  |  |  | 747.636 | 747.636 | 885.5634 | 672.3339 | 728.0851
Module 2 -- Annualized Cost = Fixed Costs (TFC Dispensers) x CRF2 |  |  |  | 739.5317 | 739.5317 | 911.8844 | 663.4423 | 437.9913
Module 2 -- Annualized Cost = Fixed Cost (TFC All Others) x CRF1 |  |  |  | 1983.8306 | 1983.8306 | 2052.125 | 1864.3071 | 2055.4825
Module 2 -- Total Annualized Costs (All Equipment) |  |  |  | 3470.9982 | 3470.9982 | 3849.5728 | 3200.0833 | 3221.5589
|  |  |  | Avg Fixed | 17496.037 | Avg Annual |  | 3442.6423
Module 3 (ORVR Compatibility)
Components
Nozzle (Healy ORVR compatible drop-in assist nozzle) |  | 54.2013 |  |  |  |  | 6.5 | 6.5
Assumed 25% premium over Module 2-compliant
nozzle (applies to assist only)
Dispenser sensor & related electronics |  | 200 |  | 6 | 6 | 6
(Hoffer Flow Control)
Installation Costs
Nozzle (Healy ORVR compatible drop-in assist nozzle)* |  | 160 |  |  |  |  | 6.5 | 6.5
Dispenser sensor & related electronics |  | 160 |  | 6 | 6 | 6
Module 3 -- Total Fixed Costs (Equipment Purchase + Installation) |  |  |  | 2160 | 2160 | 2160 | 1392.3081 | 1392.3081
Module 3 -- Total Fixed Costs (Nozzles) |  |  |  | 0 | 0 | 0 | 1392.3081 | 1392.3081
Module 3 -- Total Fixed Costs (Dispensers) |  |  |  | 2160 | 2160 | 2160 | 0 | 0
Module 3 -- Annualized Costs = Fixed Costs (Nozzles) x CRF3 |  |  |  | 0 | 0 | 0 | 559.8677 | 559.8677
Module 3 -- Annualized Costs = Fixed Costs (Dispensers) x CRF2 |  |  |  | 443.6759 | 443.6759 | 443.6759 | 0 | 0
Module 3 -- Total Annualized Costs (All Equipment) |  |  |  | 443.6759 | 443.6759 | 443.6759 | 559.8677 | 559.8677
|  |  |  | Avg Fixed | 1852.9232 | Avg Annual |  | 490.1526
Module 4 (Liquid Retention -- Redesigned Nozzle)
Assumed 25% premium over Module 2-compliant |  | 54.0538 |  | 6.5 | 6.5 | 6.5 | 6.5 | 6.5
nozzle; in-nozzle design only; no extra installation
Module 4 -- Total Fixed Costs (Equipment Purchase + Installation) |  |  |  | 351.3494 | 351.3494 | 351.3494 | 351.3494 | 351.3494
Module 4 -- Annualized Costs = Fixed Costs x CRF3 |  |  |  | 141.2828 | 141.2828 | 141.2828 | 141.2828 | 141.2828
|  |  |  | Avg Fixed | 351.3494 | Avg Annual |  | 141.2828
Module 5 (Spillage, including Dripless Nozzle)
Assumed 25% premium over Module 2-compliant |  | 54.0538 |  | 6.5 | 6.5 | 6.5 | 6.5 | 6.5
nozzle; in-nozzle design only; no extra installation
Module 5 -- Total Fixed Costs (All Equipment) |  |  |  | 351.3494 | 351.3494 | 351.3494 | 351.3494 | 351.3494
Module 5 -- Annualized Costs = Fixed Costs x CRF3 |  |  |  | 141.2828 | 141.2828 | 141.2828 | 141.2828 | 141.2828
|  |  |  | Avg Fixed | 351.3494 | Avg Annual |  | 141.2828
Module 6 (In-Station Diagnostics)
Components | (OLD)
Sensors -- Pressure | 192 | 595 |  | 1 | 1 | 1 | 1 | 1
Sensors -- A/L | 245 | 885 |  | 3 | 3 | 3 | 3 | 3
Datalogger w/EPROM & new CPU/motherboard | 1197 | 3995 |  | 1 | 1 | 1 | 1 | 1
Dispenser interface |  | 670 |  | 1 | 1 | 1 | 1 | 1
Inventory sensor (ATG) |  | 1095 |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Installation Costs: assume retrofit costs of $300 base + $200 per dispenser
|  | 900 |  | 3 | 3 | 3 | 3 | 3
Module 6 -- Total Fixed Costs (All Equipment) |  |  |  | 11555.5 | 11555.5 | 11555.5 | 11555.5 | 11555.5
Module 6 -- Annualized Costs = Total Fixed Costs x CRF1 |  |  |  | 1880.6044 | 1880.6044 | 1880.6044 | 1880.6044 | 1880.6044
Module 6 - Annualized maintenance/calib/repair |  |  |  | 1170 | 1170 | 1170 | 1170 | 1170
Additional cost for annual balance system tests |  |  |  | 500 | 500 | 500 | 0 | 0
|  |  |  | Avg Fixed | 11555.5 | Avg Annual |  | 3350.6044
Total Fixed Costs (All Modules) |  |  |  | 38026.0888 | 38026.0888 | 39627.8188 | 35966.2769 | 36182.0219
Total Annualized Fixed Costs (All Modules) |  |  |  | 8971.7528 | 8971.7528 | 9350.3273 | 8317.0297 | 8338.5053
Notes
Cost Recovery Factor CRF1 (10% discount, 10 yr. life) -- All Others |  | 0.16275 |  |  | Average Total Fixed Cost |  |  | 37565.659
Cost Recovery Factor CRF2 (10% discount, 7 yr. life) -- Dispensers |  | 0.20541 |  |  | Average Total Annualized Cost |  |  | 8789.8735
Cost Recovery Factor CRF3 (10% discount, 3 yr. life) -- Nozzles |  | 0.40211
* from Healy Systems, 1999.

## GDF 4
Estimated Equipment Costs for a Model GDF 4 Facility per Proposed Module
| Unit Cost |  | Number of Components in Model GDF
Proposed Module | 1999 Dollars |  | Bal-1 | Bal-2 | Hybrid | Assist-1 | Assist-2
Module 1 (Phase I) |  | NEW
Phase I Components
Pressure/Vacuum (P/V) valve | 65 | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 351 | 390 | 5 | 5 | 5 | 5 | 5
Drop tube & overfill protection | 178 | 400 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 55 | 219 | 5 | 5 | 5 | 5 | 5
Installation Costs
Pressure/Vacuum (P/V) Valve | 80 | 16 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 160 | 190 | 5 | 5 | 5 | 5 | 5
Drop tube & overfill protection | 160 | 155 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 80 | 41 | 5 | 5 | 5 | 5 | 5
Post-installation tank testing |  | 131
Module 1 -- Total Fixed Cost (All Equipment) |  |  | 5958.5 | 5958.5 | 5958.5 | 5958.5 | 5958.5
Module 1 -- Total Annualized Cost = Total Fixed Cost x CRF2 |  |  | 2396.0011 | 2396.0011 | 2396.0011 | 2396.0011 | 2396.0011
|  |  | Avg Fixed | 5958.5 | Avg Annual |  | 2396.0011
Module 2 (Phase II w/pressure-related fugitives)
Dispenser Components
Nozzle -- Balance | 200 |  | 9.75 | 9.75
Nozzle -- Hybrid | 231.25 |  |  |  | 9.75
Nozzle -- Assist Type 1 | 208.83 |  |  |  |  | 9.75
Nozzle -- Assist Type 2 | 224.78 | [5 empty] | 9.75
Modified Equipment (Dispenser-related) -- Balance | 381.82 |  | 9.75 | 9.75
Modified Equipment (Dispenser-related) -- Hybrid | 467.87 |  |  |  | 9.75
Modified Equipment (Dispenser-related) -- Assist Type 1 | 400.11 |  |  |  |  | 9.75
Modified Equipment (Dispenser-related) -- Assist Type 2 | 220.49 | [5 empty] | 9.75
Auxilliary Items (incl. P/V, collection & processor)
Assist Type 1 | 7500 |  |  |  |  | 1
Assist Type 2 | 9000 | [5 empty] | 1
Vapor processor
for those Balance systems that use processors | 7500 |  | 1 | 1 | 1
Installation Costs |  | (OLD)
Nozzle -- Balance | 172.08 | 86.04 | 9.75 | 9.75
Nozzle -- Hybrid | 215.12 | 107.56 |  |  | 9.75
Nozzle -- Assist Type 1 | 96.8 | 48.4 |  |  |  | 9.75
Nozzle -- Assist Type 2 | 107.56 | 53.78 |  |  |  |  | 9.75
Modified Equipment (Dispenser-related) -- Balance | 344.16 | 172.08 | 9.75 | 9.75
Modified Equipment (Dispenser-related) -- Hybrid | 430.24 | 215.12 |  |  | 9.75
Modified Equipment (Dispenser-related) -- Assist Type 1 | 193.6 | 96.8 |  |  |  | 9.75
Modified Equipment (Dispenser-related) -- Assist Type 2 | 215.12 | 107.56 |  |  |  |  | 9.75
Auxilliary Items -- Assist Type 1 | 3011.56 | 1505.78 |  |  |  | 1
Auxilliary Items -- Assist Type 2 | 2581.34 | 1290.67 |  |  |  |  | 1
Vapor processor -- Balance | 3012 | 1506 | 1 | 1 | 1
Module 2 -- Total Fixed Cost (All Equipment) |  |  | 21218.085 | 21218.085 | 23620.68 | 19280.125 | 19068.8525
Module 2 -- Total Fixed Cost (TFC Nozzles) |  |  | 2788.89 | 2788.89 | 3303.3975 | 2507.9925 | 2715.96
Module 2 -- Total Fixed Cost (TFC Dispensers) |  |  | 5400.525 | 5400.525 | 6659.1525 | 4844.8725 | 3198.4875
Module 2 -- Total Fixed Cost (TFC All Other Equipment) |  |  | 13028.67 | 13028.67 | 13658.13 | 11927.26 | 13154.405
Module 2 -- Annualized Cost = Fixed Costs (TFC Nozzles) x CRF3 |  |  | 1121.454 | 1121.454 | 1328.345 | 1008.5009 | 1092.1277
Module 2 -- Annualized Cost = Fixed Costs (TFC Dispensers) x CRF2 |  |  | 1109.2975 | 1109.2975 | 1367.8265 | 995.1635 | 656.9869
Module 2 -- Annualized Cost = Fixed Cost (TFC All Others) x CRF1 |  |  | 2120.356 | 2120.356 | 2222.7978 | 1941.1066 | 2140.8188
Module 2 -- Total Annualized Costs (All Equipment) |  |  | 4351.1075 | 4351.1075 | 4918.9693 | 3944.771 | 3889.9335
|  |  | Avg Fixed | 20881.1655 | Avg Annual |  | 4291.1778
Module 3 (ORVR Compatibility)
Components
Nozzle (Healy ORVR compatible drop-in assist nozzle) | 54.2013 |  |  |  |  | 9.75 | 9.75
Assumed 25% premium over Module 2-compliant
nozzle (applies to assist only)
Dispenser sensor & related electronics | 200 |  | 9 | 9 | 9
(Hoffer Flow Control)
Installation Costs
Nozzle (Healy ORVR compatible drop-in assist nozzle)* | 160 |  |  |  |  | 9.75 | 9.75
Dispenser sensor & related electronics | 160 |  | 9 | 9 | 9
Module 3 -- Total Fixed Costs (Equipment Purchase + Installation) |  |  | 3240 | 3240 | 3240 | 2088.4622 | 2088.4622
Module 3 -- Total Fixed Costs (Nozzles) |  |  | 0 | 0 | 0 | 2088.4622 | 2088.4622
Module 3 -- Total Fixed Costs (Dispensers) |  |  | 3240 | 3240 | 3240 | 0 | 0
Module 3 -- Annualized Costs = Fixed Costs (Nozzles) x CRF3 |  |  | 0 | 0 | 0 | 839.8016 | 839.8016
Module 3 -- Annualized Costs = Fixed Costs (Dispensers) x CRF2 |  |  | 665.5138 | 665.5138 | 665.5138 | 0 | 0
Module 3 -- Total Annualized Costs (All Equipment) |  |  | 665.5138 | 665.5138 | 665.5138 | 839.8016 | 839.8016
|  |  | Avg Fixed | 2779.3849 | Avg Annual |  | 735.2289
Module 4 (Liquid Retention -- Redesigned Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 |  | 9.75 | 9.75 | 9.75 | 9.75 | 9.75
nozzle; in-nozzle design only; no extra installation
Module 4 -- Total Fixed Costs (Equipment Purchase + Installation) |  |  | 527.0241 | 527.0241 | 527.0241 | 527.0241 | 527.0241
Module 4 -- Annualized Costs = Fixed Costs x CRF3 |  |  | 211.9242 | 211.9242 | 211.9242 | 211.9242 | 211.9242
|  |  | Avg Fixed | 527.0241 | Avg Annual |  | 211.9242
Module 5 (Spillage, including Dripless Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 |  | 9.75 | 9.75 | 9.75 | 9.75 | 9.75
nozzle; in-nozzle design only; no extra installation
Module 5 -- Total Fixed Costs (All Equipment) |  |  | 527.0241 | 527.0241 | 527.0241 | 527.0241 | 527.0241
Module 5 -- Annualized Costs = Fixed Costs x CRF3 |  |  | 211.9242 | 211.9242 | 211.9242 | 211.9242 | 211.9242
|  |  | Avg Fixed | 527.0241 | Avg Annual |  | 211.9242
Module 6 (In-Station Diagnostics)
Components |  | (OLD)
Sensors -- Pressure | 595 | 192 | 1 | 1 | 1 | 1 | 1
Sensors -- A/L | 885 | 245 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5
Datalogger w/EPROM & new CPU/motherboard | 3995 | 1197 | 1 | 1 | 1 | 1 | 1
Dispenser interface | 670 |  | 1 | 1 | 1 | 1 | 1
Inventory sensor (ATG) | 1095 |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Installation Costs: assume retrofit costs of $300 base + $200 per dispenser
| 1200 | 1280 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5
Module 6 -- Total Fixed Costs (All Equipment) |  |  | 13180 | 13180 | 13180 | 13180 | 13180
Module 6 -- Annualized Costs = Total Fixed Costs x CRF1 |  |  | 2144.9843 | 2144.9843 | 2144.9843 | 2144.9843 | 2144.9843
Module 6 - Annualized maintenance/calib/repair |  |  | 1620 | 1620 | 1620 | 1620 | 1620
Additional cost for annual balance system tests |  |  | 500 | 500 | 500 | 0 | 0
|  |  | Avg Fixed | 13180 | Avg Annual |  | 4064.9843
Total Fixed Costs (All Modules) |  |  | 44650.6331 | 44650.6331 | 47053.2281 | 41561.1353 | 41349.8628
Total Annualized Fixed Costs (All Modules) |  |  | 12101.4551 | 12101.4551 | 12669.3169 | 11369.4063 | 11314.5688
Notes
Cost Recovery Factor CRF1 (10% discount, 10 yr. life) -- All Others | 0.16275 |  |  | Average Total Fixed Cost |  |  | 43853.0985
Cost Recovery Factor CRF2 (10% discount, 7 yr. life) -- Dispensers | 0.20541 |  |  | Average Total Annualized Cost |  |  | 11911.2404
Cost Recovery Factor CRF3 (10% discount, 3 yr. life) -- Nozzles | 0.40211
* from Healy Systems, 1999.

## GDF 5
Estimated Equipment Costs for a Model GDF 5 Facility per Proposed Module
| Unit Cost |  | Number of Components in Model GDF
Proposed Module | 1999 Dollars |  | Bal-1 | Bal-2 | Hybrid | Assist-1 | Assist-2
Module 1 (Phase I) |  | NEW
Phase I Components
Pressure/Vacuum (P/V) valve | 65 | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 351 | 390 | 5 | 5 | 5 | 5 | 5
Drop tube & overfill protection | 178 | 400 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 55 | 219 | 5 | 5 | 5 | 5 | 5
Installation Costs
Pressure/Vacuum (P/V) Valve | 80 | 16 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 160 | 190 | 5 | 5 | 5 | 5 | 5
Drop tube & overfill protection | 160 | 155 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 80 | 41 | 5 | 5 | 5 | 5 | 5
Post-installation tank testing |  | 131
Module 1 -- Total Fixed Cost (All Equipment) |  |  | 5958.5 | 5958.5 | 5958.5 | 5958.5 | 5958.5
Module 1 -- Total Annualized Cost = Total Fixed Cost x CRF2 |  |  | 1223.9087 | 1223.9087 | 1223.9087 | 1223.9087 | 1223.9087
|  |  | Avg Fixed | 5958.5 | Avg Annual |  | 1223.9087
Module 2 (Phase II w/pressure-related fugitives)
Dispenser Components
Nozzle -- Balance | 200 |  | 16.25 | 16.25
Nozzle -- Hybrid | 231.25 |  |  |  | 16.25
Nozzle -- Assist Type 1 | 208.83 |  |  |  |  | 16.25
Nozzle -- Assist Type 2 | 224.78 | [5 empty] | 16.25
Modified Equipment (Dispenser-related) -- Balance | 381.82 |  | 16.25 | 16.25
Modified Equipment (Dispenser-related) -- Hybrid | 467.87 |  |  |  | 16.25
Modified Equipment (Dispenser-related) -- Assist Type 1 | 400.11 |  |  |  |  | 16.25
Modified Equipment (Dispenser-related) -- Assist Type 2 | 220.49 | [5 empty] | 16.25
Auxilliary Items (incl. P/V, collection & processor)
Assist Type 1 | 7500 |  |  |  |  | 1
Assist Type 2 | 9000 | [5 empty] | 1
Vapor processor
for those Balance systems that use processors | 7500 |  | 1 | 1 | 1
Installation Costs |  | (OLD)
Nozzle -- Balance | 172.08 | 86.04 | 16.25 | 16.25
Nozzle -- Hybrid | 215.12 | 107.56 |  |  | 16.25
Nozzle -- Assist Type 1 | 96.8 | 48.4 |  |  |  | 16.25
Nozzle -- Assist Type 2 | 107.56 | 53.78 |  |  |  |  | 16.25
Modified Equipment (Dispenser-related) -- Balance | 344.16 | 172.08 | 16.25 | 16.25
Modified Equipment (Dispenser-related) -- Hybrid | 430.24 | 215.12 |  |  | 16.25
Modified Equipment (Dispenser-related) -- Assist Type 1 | 193.6 | 96.8 |  |  |  | 16.25
Modified Equipment (Dispenser-related) -- Assist Type 2 | 215.12 | 107.56 |  |  |  |  | 16.25
Auxilliary Items -- Assist Type 1 | 3011.56 | 1505.78 |  |  |  | 1
Auxilliary Items -- Assist Type 2 | 2581.34 | 1290.67 |  |  |  |  | 1
Vapor processor -- Balance | 3012 | 1506 | 1 | 1 | 1
Module 2 -- Total Fixed Cost (All Equipment) |  |  | 22655.025 | 22655.025 | 25610.25 | 21260.555 | 20148.0825
Module 2 -- Total Fixed Cost (TFC Nozzles) |  |  | 4648.15 | 4648.15 | 5505.6625 | 4179.9875 | 4526.6
Module 2 -- Total Fixed Cost (TFC Dispensers) |  |  | 9000.875 | 9000.875 | 11098.5875 | 8074.7875 | 5330.8125
Module 2 -- Total Fixed Cost (TFC All Other Equipment) |  |  | 9006 | 9006 | 9006 | 9005.78 | 10290.67
Module 2 -- Annualized Cost = Fixed Costs (TFC Nozzles) x CRF3 |  |  | 1869.0899 | 1869.0899 | 2213.9084 | 1680.8349 | 1820.2129
Module 2 -- Annualized Cost = Fixed Costs (TFC Dispensers) x CRF2 |  |  | 1848.8292 | 1848.8292 | 2279.7109 | 1658.6058 | 1094.9782
Module 2 -- Annualized Cost = Fixed Cost (TFC All Others) x CRF1 |  |  | 1465.685 | 1465.685 | 1465.685 | 1465.6492 | 1674.7592
Module 2 -- Total Annualized Costs (All Equipment) |  |  | 5183.6042 | 5183.6042 | 5959.3043 | 4805.0898 | 4589.9502
|  |  | Avg Fixed | 22465.7875 | Avg Annual |  | 5144.3106
Module 3 (ORVR Compatibility)
Components
Nozzle (Healy ORVR compatible drop-in assist nozzle) | 54.2013 |  |  |  |  | 16.25 | 16.25
Assumed 25% premium over Module 2-compliant
nozzle (applies to assist only)
Dispenser sensor & related electronics | 200 |  | 12 | 12 | 12
(Hoffer Flow Control)
Installation Costs
Nozzle (Healy ORVR compatible drop-in assist nozzle)* | 160 |  |  |  |  | 16.25 | 16.25
Dispenser sensor & related electronics | 160 |  | 12 | 12 | 12
Module 3 -- Total Fixed Costs (Equipment Purchase + Installation) |  |  | 4320 | 4320 | 4320 | 3480.7703 | 3480.7703
Module 3 -- Total Fixed Costs (Nozzles) |  |  | 0 | 0 | 0 | 3480.7703 | 3480.7703
Module 3 -- Total Fixed Costs (Dispensers) |  |  | 4320 | 4320 | 4320 | 0 | 0
Module 3 -- Annualized Costs = Fixed Costs (Nozzles) x CRF3 |  |  | 0 | 0 | 0 | 1399.6693 | 1399.6693
Module 3 -- Annualized Costs = Fixed Costs (Dispensers) x CRF2 |  |  | 887.3518 | 887.3518 | 887.3518 | 0 | 0
Module 3 -- Total Annualized Costs (All Equipment) |  |  | 887.3518 | 887.3518 | 887.3518 | 1399.6693 | 1399.6693
|  |  | Avg Fixed | 3984.3081 | Avg Annual |  | 1092.2788
Module 4 (Liquid Retention -- Redesigned Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 |  | 16.25 | 16.25 | 16.25 | 16.25 | 16.25
nozzle; in-nozzle design only; no extra installation
Module 4 -- Total Fixed Costs (Equipment Purchase + Installation) |  |  | 878.3734 | 878.3734 | 878.3734 | 878.3734 | 878.3734
Module 4 -- Annualized Costs = Fixed Costs x CRF3 |  |  | 353.207 | 353.207 | 353.207 | 353.207 | 353.207
|  |  | Avg Fixed | 878.3734 | Avg Annual |  | 353.207
Module 5 (Spillage, including Dripless Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 |  | 16.25 | 16.25 | 16.25 | 16.25 | 16.25
nozzle; in-nozzle design only; no extra installation
Module 5 -- Total Fixed Costs (All Equipment) |  |  | 878.3734 | 878.3734 | 878.3734 | 878.3734 | 878.3734
Module 5 -- Annualized Costs = Fixed Costs x CRF3 |  |  | 353.207 | 353.207 | 353.207 | 353.207 | 353.207
|  |  | Avg Fixed | 878.3734 | Avg Annual |  | 353.207
Module 6 (In-Station Diagnostics)
Components |  | (OLD)
Sensors -- Pressure | 595 | 192 | 1 | 1 | 1 | 1 | 1
Sensors -- A/L | 885 | 245 | 6 | 6 | 6 | 6 | 6
Datalogger w/EPROM & new CPU/motherboard | 3995 | 1197 | 1 | 1 | 1 | 1 | 1
Dispenser interface | 670 |  | 1 | 1 | 1 | 1 | 1
Inventory sensor (ATG) | 1095 |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Installation Costs: assume retrofit costs of $300 base + $200 per dispenser
Assumed 2 person-days/dispenser for ISD installation | 1500 | 1280 | 6 | 6 | 6 | 6 | 6
Module 6 -- Total Fixed Costs (All Equipment) |  |  | 14807.5 | 14807.5 | 14807.5 | 14807.5 | 14807.5
Module 6 -- Annualized Costs = Total Fixed Costs x CRF1 |  |  | 2409.8524 | 2409.8524 | 2409.8524 | 2409.8524 | 2409.8524
Module 6 - Annualized maintenance/calib/repair |  |  | 2070 | 2070 | 2070 | 2070 | 2070
Additional cost for annual balance system tests |  |  | 500 | 500 | 500 | 0 | 0
|  |  | Avg Fixed | 14807.5 | Avg Annual |  | 4779.8524
Total Fixed Costs (All Modules) |  |  | 49497.7719 | 49497.7719 | 52452.9969 | 47264.0722 | 46151.5997
Total Annualized Fixed Costs (All Modules) |  |  | 12981.131 | 12981.131 | 13756.8311 | 12614.9341 | 12399.7945
Notes
Cost Recovery Factor CRF1 (10% discount, 10 yr. life) -- All Others | 0.16275 |  |  | Average Total Fixed Cost |  |  | 48972.8425
Cost Recovery Factor CRF2 (10% discount, 7 yr. life) -- Dispensers | 0.20541 |  |  | Average Total Annualized Cost |  |  | 12946.7643
Cost Recovery Factor CRF3 (10% discount, 3 yr. life) -- Nozzles | 0.40211
* from Healy Systems, 1999.

## RD Costs
Research & Development Costs for All Proposed Modules
Source | Unit Cost or Value
Staff Costs
Phase I systems
Engineering
Assumed number of full-time engineers needed per certification | 1
Annual cost per engineer (salary + benefits) | 100000
Number of years required per certification | 1
Non-engineering
Support staff needed per certfication (assume 1 support per 2 engineers) | 0.5
Annual cost per support staff (salary + benefits; assume 50% of engineer cost) | 50000
Number of years required per certification | 1
Total R&D Staff Costs per Phase I certification | 125000
Phase II & ISD systems
Engineering
Assumed number of full-time engineers needed per certification | 2
Annual cost per engineer (salary + benefits) | 100000
Number of years required per certification | 2
Non-engineering
Support staff needed per certfication (assume 1 support per 2 engineers) | 1
Annual cost per support staff (salary + benefits; assume 50% of engineer cost) | 50000
Number of years required per certification | 2
Total R&D Staff Costs per Phase II and ISD Certification | 500000
Component & Systems Development Costs (CSDC) per Certification
Design, prototype development, & commercialization cost per certification | 50000
(assume 10% of total staff costs)
Miscellaneous Costs
Marketing costs per certification (assumed 25% of CSDC) | 12500
Total number of Phase II recertifications (as of 01/01/2000) | 32
ISD systems to be developed & certified (assume 25% of total Ph II recertifications) | 8
Total number of Phase I recertifications (as of 01/01/2000) | 14
Total Research & Development Costs | 25125000
Annualized R&D Costs (CRF @ 10% discount rate, 5 yrs) | 6627911.705

## CertTestCosts
Certification and Testing Costs for All Proposed Modules
Source | Unit Cost or Value
ARB Certification Fees
Typical current ARB fees per Phase II certification | 10000
Typical current ARB fees per Phase I certification | 2000
Multiplier for increase in test period (to 6 mos) & test matrix (to 200 cars) | 5
Total number of recertifications
Phase II | 32
Phase I | 14
Est. number of ISD certifications | 8
Total ARB Certification Fees (assume fee for ISD same as for Phase II) | 2140000
Manufacturers' Certification Fees
Typical current Phase II cost per certification (site preparation, testing) | 170000
Typical current Phase I cost per certification (assume 20% of Phase II) | 34000
Multiplier for increase in test period (to 6 mos) & test matrix (to 200 cars) | 2
Total number of Phase II recertifications | 32
Est. number of new certifications (i.e., ISD systems or components) | 8
Total number of Phase I recertifications | 14
Total Manufacturers' Phase I, Phase II, & ISD Certification Costs | 14552000
Total Certification (ARB + Manufacturers) Costs (over 4 years) | 16692000
Annualized Certification Costs (CRF @ 10% discount rate, 4 yrs) | 4403307.5494
Notes:
(1) 4 yr annualization period for cost recovery factor (CRF) reflects proposed 4-yr cert. lifetimes
(2) $170,000 typical manuf. certification costs includes $75,000 on-site + $75,000 internal
engineering and lab costs to prepare for field certification + $20,000 for pressure monitoring.
(3) Typical ARB certification fees taken from most recent ARB invoices for Phase I/II testing.

## GDF Distr
GDF Population Distribution
National GDF Distribution in 1991 |  |  | Est. California Distribution in 1998
|  | Percent |  |  | Percent
Gal/mo |  | of GDFs | Gal/mo |  | of GDFs
3000 |  | 3.8% | 3000 |  | 0.76%
8000 |  | 4.8% | 8000 |  | 0.96%
17500 |  | 15% | 17500 |  | 3%
37500 |  | 23.5% | 37500 |  | 14.1%
75000 |  | 32.3% | 75000 |  | 45.65%
150000 |  | 18.2% | 150000 |  | 31.3%
300000 |  | 2.4% | 300000 |  | 4.224%
PWA (1991) = | 70660.5 | gal/mo | PWA (1998) = | 99779.1 | gal/mo
Source: EPA, 1991 |  |  | Source: Staff adjustment of EPA, 1991
PWA = population-wtd average |  |  | distribution to fit current average
(pop-wtd avg = 99865)

## Ref and Notes
Ref. | Source
1 | "1999 State of the Industry Report," National Assoc. of Convience Stores,
<http://www.cstorecentral.com/register/resource/resource/99soihighlights.html,
visited on 01/03/00.
| Notes: | (a) | 1998 average motor fuel sold per store = 95,100 gals/month
|  | (b) | Because of 1998's low fuel prices, the average margin cents per gallon
dropped to 12.6 cents compared to 1997's 13.4 cents.
2 | "EBW Vapor Recovery Equipment Price List,"
price list spreadsheet from EBW Web site, <http://www.ebw.com/pricelst>, visited on 01/03/00.
| Notes: | (a) | breakaways (avg = $32.50 each)
|  | (b) | drop tubes (avg = $111 each, CARB approved)
|  | (c) | P/V valves (avg = $65 each, CARB approved)
|  | (d) | EPROM + main CPU board (avg = $725 each)
|  | (e) | spill containment "bucket" with drain (avg = $482 each)
3 | "Model 800 Intelligent ORVR Nozzle," Powerpoint presentation by Healy Systems,
<http://www.healysystems.com/NozzlesandHoses/NozzlesandHoses.ppt>, visited on 01/03/00.
| Notes: | (a) | "No excavation of downtime loss with Healy," Slide 14.
|  | (b) | "No additional installation costs," Slide 14.
|  | (c) | "Retrofit product: approximate installation time takes 2 workers one day per
4 multi-product dispenser station," Slide 14.
4 | "Healy ORVR System," <http://www.healysystems.com/orvr1.htm>, visited on 01/13/00.
| Notes: | (a) | "...Healy Model 800 Nozzle converts your vacuum assist dispensers to ORVR
with no added below-ground systems and no new electronics."
|  | (b) | "...Healy Systems gives you the whole package in the nozzle."