Appendix G

# Summary of Cost Analysis Methodology

Summary

The cost of the proposed ATCM to affected businesses is estimated to be $672,000 to $1,195,000 in initial capital and permitting costs and $55,000 to $94,000 in annual recurring costs. This equates to $150,000 to $257,000 dollars annually over the useful life of the control equipment.  This cost represents the capital cost of equipment, annualized over its useful life, plus the annual recurring costs in 2004 dollars.  The annual cost for facilities that would not be required to install additional controls ranges from $600 to $850 per facility.  The annual cost for facilities that would be required to install additional controls ranges from about $5,000 to $55,000 (or $162,000 if the largest facility installs three HEPA systems) per facility.

The cost ranges represent minimum and maximum costs associated with the one facility that would need to upgrade from water curtains to a HEPA filter system.  Based on information provided by the facility, we believe that one HEPA system for three spray booths would be sufficient to accommodate the quantities of chromium- and nickel-based materials being used at the facility and comply with the proposed ATCM.  This situation is reflected in the lower end of the cost ranges provided above.  If the business chose to install three HEPA systems for nine spray booths, to provide maximum operational flexibility, the costs would be greater, as represented by the upper end of the cost ranges provided above.  However, the expenditure for upgrading nine spray booths would be a business decision that is not mandated by the proposed ATCM.

The cost for 31 of the 37 facilities that would not need to install control devices is summarized in Table G-1.  All 31 facilities would need to initially report their emissions, and meet monitoring and recordkeeping requirements, which is estimated to cost $600 per year.  Seventeen of the 31 facilities would need to modify or obtain a permit, which the ARB estimates will cost $2,232.  Of the 17 facilities that will incur permit application fees, 12 do not have an existing permit, and will incur additional annual permit fees.

| Table G-1: Costs for Affected Facilities Not Installing Control Devices |
| --- |
| Requirement | Cost | Number of Affected Facilities | Total Initial Capital Cost | Total Annual Recurring Cost |
| Reporting, Monitoring and Recordkeeping | $600 | 31 | $0 | $18,600 |
| Permit Application Fee | $2,232 | 17 | $0 | $37,944 |
| Annual Permit Fee | $246 | 12 | $2,952 | $0 |

The following discussion deals primarily with the methodology used to determine the cost to the six facilities that would need to install new control devices to meet the requirements of the proposed ATCM.  A summary of the costs and assumptions used for each of the six facilities is shown in Tables G–2 and G-3.

| Table G-2: Cost Estimates and Assumptions Used for Four Facilities Needing New Control Devices to Meet the 99.999% or 99.97% Control Efficiency Requirement* |
| --- |
|  | Facility 1** | Facility 2 | Facility 3 | Facility 4 | Total |
| Size of Filter System (in square feet of filter media) | 15,000 | 6,000 | 6,000 | 6,000 |  |
| HEPA Filter Unit | Yes | No | No | No |  |
| Dry Filter Unit | Yes | Yes | Yes | Yes |  |
| Booth Needed | Yes | No | Yes | Yes |  |
| Hood Needed | Yes | Yes | Yes | Yes |  |
| Filter Replacement Frequency | One Year | Two Years | Two Years | Two Years |  |
| Existing Permit | Yes | No | No | No |  |
| Cost of Equipment | $213,172 - $639,517 | $66,997 | $87,440 | $87,440 | $455,049 - $881,394 |
| Installation, Freight and Permit Fees | $50,868 - $148,139 | $22,047 | $22,047 | $22,047 | $117,009 - $214,280 |
| Initial Capital Cost (fixed) | $264,040 - $787,656 | $89,045 | $109,488 | $109,488 | $572,061 - $1,095,677 |
| Annualized Fixed Cost | $35,059 - $104,147 | $12,230 | $14,878 | $14,878 | $77,045 - $146,133 |
| Annual Recurring Cost | $19,799 - $58,196 | $3,815 | $3,815 | $3,815 | $31,244 - $69,641 |
| Total Annual Cost | $54,858 - $162,343 | $16,046 | $18,693 | $18,693 | $108,290 - $215,775 |

**  The high end of the range assumes the facility would install three HEPA systems and three cyclones to control emissions from nine spray booths.

| Table G-3: Cost Estimate Used for Two Facilities Needing New Control Devices to Meet the 90% Control Efficiency Requirement* |
| --- |
|  | Facility 5 | Facility 6 | Total |
| Water Wash Spray Booth | $17,320 | $17,320 | $34,640 |
| Installation, Freight and Permit Fees | $11,232 | $11,232 | $22,464 |
| Disposal | $214 | $214 | $428 |
| Electricity | $154 | $154 | $308 |
| Recordkeeping | $600 | $600 | $1,200 |
| Annual Permit Fee | $246 | $246 | $492 |
| Initial Capital Cost (fixed) | $28,552 | $28,552 | $57,104 |
| Annualized Fixed Cost | $3,698 | $3,698 | $7,396 |
| Annual Recurring Cost | $1,214 | $1,214 | $2,428 |
| Total Annual Cost | $4,912 | $4,912 | $9,824 |

*  Estimates are based on discussions with manufacturers, information from the 2004 Thermal Spray Facility Survey, and confidential discussions with industry representatives. (ARB, 2004c; BOE, 2004; Gansert, 2004; Huack, 2004; Walters, 2004).

The cost to install a filter system can vary significantly depending on the configuration and layout of the existing facility and spray booths.  Based on discussions with air filter manufacturers and confidential discussions with the thermal spray industry, we assumed the installation costs to be 50% of the total cost of the blower, dust collector, control panel, other miscellaneous equipment and the HEPA filter unit, if applicable.  The estimate for installation represents typical installation costs and assumes that the six facilities needing new control devices will not have special circumstances, such as a structure that needs to be heavily modified, that would increase this cost.

Tables G-4 and G-5 present the estimated initial capital cost of various components of control systems that facilities would install to meet the proposed ATCM requirements.  In Table G-4 are estimates for control system components for a dry cartridge filter system with 6,000 square feet of filter media.  In

Table G-5 are estimates for control system components for a dry cartridge filter system with 15,000 square feet of filter media and a HEPA unit.

| Table G–4: Estimated Equipment Costs for a Dry Cartridge Filter System with 6,000 Square Feet of Filter Media* |
| --- |
| Item | Estimated Cost |
| 20 hp Blower | $4,654 |
| Control Panel | $3,635 |
| Dust Collector | $24,436 |
| Other Equipment | $3,248 |
| Duct Work | $21,650 |
| Dry Cartridge Filters, 24 filters at $90 each | $2,338 |
| Hood | $7,036 |
| Booth | $20,443 |
| Installation | $16,616 |
| Freight | $3,200 |
| Permit Fee | $2,232 |
| Total | $109,488 |

*  Estimates are based on discussions with filter manufacturers, information from the 2004 Thermal Spray Facility Survey, product literature and confidential discussions with industry representatives. (ARB, 2004c; BOE, 2004; Fontaine, 2004; Gansert, 2002; Gansert, 2004; Jettan, 2004; Mills, 2002; Walters, 2003; Walters, 2004).

| Table G–5: Estimated Equipment Costs for a Single Dry Cartridge Filter System with 15,000 Square Feet of Filter Media and a HEPA Filter Unit* |
| --- |
| Item | Estimated Cost |
| 50 hp Blower | $6,291 |
| Control Panel | $4,092 |
| Dust Collector | $62,714 |
| HEPA Filter Unit | $6,868 |
| Cyclone | $12,990 |
| Other Miscellaneous Equipment | $5,413 |
| Duct Work | $21,650 |
| Dry Cartridge Filters, 60 filters at $90 each | $5,845 |
| HEPA Filters, 15 filters at $300 each | $4,871 |
| Hood X 3 | $21,109 |
| Booth X 3 | $61,329 |
| Installation | $45,436 |
| Freight | $3,200 |
| Permit Fee | $2,232 |
| Total | $264,040 |

*  Estimates are based on discussions with filter manufacturers, information from the 2004 Thermal Spray Facility Survey, product literature and confidential discussions with industry. representatives. (ARB, 2004c; BOE, 2004; Fontaine, 2004; Gansert, 2002; Gansert, 2004; Jettan, 2004; Mills, 2002; Walters, 2003; Walters, 2004).

Table G-6 shows the estimated recurring cost for the facilities that would be required to install filter controls to meet the 99.999% or 99.97% control efficiency requirements.  These estimates are based on the assumption that facility 1 installs a HEPA filter, and facilities 2-4 install dry cartridge filters.

| Table G-6: Recurring Costs for Four Facilities Needing New Control Devices to Meet the 99.999% or 99.97% Control Efficiency Requirement * |
| --- |
|  | Facility 1** | Facility 2 | Facility 3 | Facility 4 |
| Operating Hours/Year | 1000 | 250 | 250 | 250 |
| Filter Change out Frequency | Every Year | Every 2 Years | Every 2 Years | Every 2 Years |
| Disposal Cost | $6,420 - $19,260 | $1,284 | $1,284 | $1,284 |
| Replacement Filters | $5,846 - $17,537 | $1,169 | $1,169 | $1,169 |
| Replacement HEPA Filters | $4,871 - $14,614 | $0 | $0 | $0 |
| Electrical Cost | $2,062 - $6,186 | $516 | $516 | $516 |
| Recordkeeping, Monitoring and Reporting | $600 | $600 | $600 | $600 |
| Annual Permit Fees | $0 | $246 | $246 | $246 |
| Total | $19,799 - $58,197 | $3,815 | $3,815 | $3,815 |

*  Estimates are based on discussions with filter manufacturers, information from the 2004 Thermal Spray Facility Survey, product literature, disposal companies and confidential discussions with industry representatives (BLS, 2004; Donaldson, 2004; Gottes, 2004; Jettan, 2004).

**  The high end of the range assumes the facility would install three HEPA systems and three cyclones to control emissions from nine spray booths.

Electrical cost was calculated as follows:

Electrical Cost = (motor hp) X (.75 kilowatts/hp) X ($0.1375/kilowatt-hour) X (annual hours of operation)

If the facility had an existing control device, their current electrical cost was calculated in the same fashion, and the incremental increase in electrical cost was used in the cost estimate.

## Annualized Costs

We annualized non-recurring fixed costs using the Capital Recovery Method.  Using this method, we multiplied the non-recurring fixed costs by the Capital Recovery Factor (CRF) to convert these costs into equal annual payments over a project horizon at a discount rate.  The Capital Recovery Method for annualizing fixed costs is recommended by Cal/EPA (Cal/EPA, 1996), and is consistent with the methodology used in previous cost analyses for ARB regulations (ARB, 2000a; ARB, 2000b).

The CRF is calculated as follows:

where,

CRF	=	Capital Recovery Factor

i	=	discount interest rate (assumed to be 5%)

n	=	project horizon or useful life of equipment

All costs of the control devices were annualized over 10 years, except the cost of the blower, which was annualized over five years.  These values are based on a conservative estimate of the expected lifetime of the equipment.  The permit application or renewal fees were annualized over five years.  The total annualized cost was obtained by adding the annual recurring costs to the annualized fixed costs derived by the Capital Recovery Method.

REFERENCES

ARB, 2000a.  Air Resources Board.  “Staff Report for the Proposed Suggested Control Measure for Architectural Coatings.”  2000.

ARB, 2000b.  Air Resources Board.  “Initial Statement of Reasons for Proposed Amendments to the Vapor Recovery Certification and Test Procedures for Gasoline Loading and Motor Vehicle Gasoline Refueling at Service Stations.”  2000.

ARB, 2004c.  Air Resources Board.  “2004 Thermal Spraying Facility Survey, Draft Report.”  2004.

BOE, 2004.  Board of Equalization, “California City and County Sales and 
Use Tax Rates”  Online, Internet at http://www.boe.ca.gov/sutax/pam71.htm. (18 September 2004)

BLS, 2004.  U.S. Department of Labor, Bureau of Labor Statistics, “Consumer Price Index – Average Price Data: Electricity per KWH in Los Angeles and San Francisco” Online, Internet at http://data.bls.gov/labjava/outside.jsp?survey=ap,  (18 September 2004)

Cal/EPA, 1996.  California Environmental Protection Agency.  “Economic Analysis Requirements for the Adoption of Administrative Regulations.”  Appendix C (“Cal/EPA Guidelines for Evaluation Alternatives to Proposed Major Regulations”).  Memorandum from Peter M. Rooney, Undersecretary, to Cal/EPA Executive Officers and Directors.  December 6, 1996.

Donaldson, 2004.  Donaldson Company Inc.  Product Brochure, “Ultra-Web Cartridges.”  September, 2004.

Fontaine, 2004.  Air Resources Board staff discussions with Mike Fontaine, Donaldson Company Inc., May 2004.

Gansert, 2002.  Air Resources Board staff discussions with Robert Gansert, Hardface Alloys Inc., November 2002.

Gansert, 2004.  Air Resources Board staff discussions with Robert Gansert, Hardface Alloys Inc., May 2004.

Gottes, 2004.  Air Resources Board staff discussions with Janet Gottes, Clean Harbor, May 2004.

Hauck, 2004.  Air Resources Board staff discussions with Bob Hauck, Spray Systems Inc.  October 2004.

Jettan, 2004.  Air Resources Board staff discussions with Steve Jettan, Farr APC, June 2004.

Mills, 2002.  Air Resources Board staff discussions with David Mills, Sulzer Metco, November 2002.

Walters, 2003.  Air Resources Board staff discussions with Robert Walters, Donaldson Company Inc. March 2003.

Walters, 2004.  Air Resources Board staff discussions with Robert Walters, Donaldson Company Inc. June 2004.